## 0_說明
EX03｜W3 灰分與鈉離子
食品分析實驗・入門數據分析（Excel 版）。不用寫程式；同一份數據在 Colab 筆記本做進階分析，答案應該一致。
學習目標
• 由坩堝空重、坩堝＋樣品、灰化後坩堝＋灰分（恆重）計算灰分 %，比較黑糖 vs 白糖、糙米 vs 白米。
• 由 Na⁺ ISE 讀數與稀釋倍數回推樣品的鈉濃度，換算成 NaCl 當量（× 2.542 = 58.44/22.99）。
• 計算標準添加回收率 %，用 90–110% 判斷方法準確性；檢查飄移（每 10 個樣品重測標準液，偏差 > ±5% 要重新校正）。
• 把量測鈉換成每 100 g，跟營養標示比較，並討論非 NaCl 的含鈉來源。
• 用官方食物成分資料庫（USDA、衛福部 TFND）檢查數據是否合理，並用旗標抓出單位／稀釋倍數／乾濕基的換算錯誤。
顏色代表什麼
黃色：輸入或貼上數據的地方
綠色：公式，會自動計算，不要改
橘色：重點結果，寫報告時用
操作步驟
1. 看「1_原始數據」：一列是一次量測，item 欄說明量的是什麼。
2. 「2_灰分」：先做講義範例（應為 1.47%），再看各組與各樣品的灰分 % 和長條圖。
3. 「3_鈉與NaCl」：講義範例（醬油 1:50，NaCl 應為 13.98 g/100 mL），再看五種產品的鈉與 NaCl 當量。
4. 「4_回收率與飄移」：回收率是否在 90–110%；飄移圖有沒有點超出 ±5%；（選用）Nernst 斜率。
5. 「5_標示比較」：標示換成每 100 g 後跟量測值比。
6. 「6_資料庫比對」：全班平均是否在資料庫合理範圍內、有沒有 ⚑ 旗標；看故意算錯的 G6–G8。資料庫原始數字在「7_參考資料」。
7. 完成「練習題」。
8. 換成班級數據：把共用 Google Sheet 的數據貼到「1_原始數據」A2 起。組別、樣品不同時，改各表黃色的組別／樣品欄。
對答案：用內建範例數據時，你的結果應該等於
項目 | 本檔計算值 | Colab 筆記本的值 | 一致？
黑糖 全班平均灰分 (%) |  | 1.4919
全脂奶粉 灰分 SD (%) |  | 0.30663
醬油 Na (mg/100 mL) |  | 6013.6
第 4 組 標準添加回收率 (%) |  | 75.85
第 40 個樣品時 標準液偏差 (%) |  | 6.1
洋芋片 量測 vs 標示差異 (%) |  | -8.8933
醬油 量測 vs 標示差異 (%) |  | -10.0658
醬油 換算成 mg/100 g（÷ 密度 1.18） |  | 5096.2712
糙米灰分 資料庫合理範圍上限 (%) |  | 1.4754
「Colab 筆記本的值」是用內建模擬數據算出的答案；換成全班數據後，這一欄就不再適用。
相關連結
本週實驗投影片 | https://tai-shengyeh.github.io/food-analysis-lab/labs/w03_ash_sodium/index.html
進階：Colab 筆記本（Python） | https://colab.research.google.com/github/Tai-ShengYeh/food-analysis-lab/blob/main/notebooks/NB03_ash_sodium.ipynb
數據分析工具指南（Excel／Orange／Colab） | https://tai-shengyeh.github.io/food-analysis-lab/tools.html
小提醒
• 本檔的數據是模擬教學資料，不是真實量測值。
• 進階：資料庫比對的完整版（每一組鈉的逐一比對、每個品項的小圖、ISE／方法的說明文字、R 語言版本）與結果匯出 CSV，請看 Colab 筆記本。本檔的旗標是同一套規則的簡化版（單位 10 倍、NaCl 2.542 倍、稀釋倍數、乾濕基）。
• 灰分是濕基（除以樣品濕重）。要換成乾基：乾基灰分 = 濕基灰分 ÷ (1 − 水分%/100)，水分用 W2 的結果。
• Google 試算表也能開這個檔（檔案 → 匯入），公式都一樣能用。看到 #NAME? 表示 Excel 版本太舊，請改用 Google 試算表。

## 1_原始數據
group | student | item | rep | value | unit | temp_C | note | sample | 這張工作表怎麼用
1 | G1_S1 | crucible_empty_g | 1 | 28.6437 | g | 555 |  | black_sugar | 本週欄位：item＝量測項目。crucible_empty_g 坩堝空重、crucible_sample_g 坩堝＋樣品、crucible_ash_g 灰化後坩堝＋灰分（恆重）；na_ise_ppm Na⁺ ISE 讀數；std_addition_before_ppm／std_addition_after_ppm 標準添加前／後讀數；drift_check_ppm 飄移監控（group=0 代表 QC 標準液，rep＝第幾個樣品時重測）；nernst_mV 兩點 Nernst 電位。
1 | G1_S1 | crucible_sample_g | 1 | 31.0917 | g | 555 |  | black_sugar | sample＝樣品名稱。灰分列的 temp_C 是高溫爐溫度（約 550 °C），不是室溫。
1 | G1_S1 | crucible_ash_g | 1 | 28.6815 | g | 555 |  | black_sugar | 本表不需要額外計算欄；後面每一張工作表都用 AVERAGEIFS／COUNTIFS 依 group、item、sample 把數字抓過去。
1 | G1_S1 | crucible_empty_g | 1 | 24.5651 | g | 548 |  | white_sugar | 黃色欄位＝原始數據。換成全班數據時：從共用 Google Sheet 複製，貼到 A2（欄位順序必須一樣），舊資料多出來的列要整列刪除。
1 | G1_S1 | crucible_sample_g | 1 | 27 | g | 548 |  | white_sugar | 綠色欄位＝公式，會自動算到第 1000 列，不要手動修改。
1 | G1_S1 | crucible_ash_g | 1 | 24.5659 | g | 548 |  | white_sugar
1 | G1_S1 | crucible_empty_g | 1 | 24.7687 | g | 554 |  | brown_rice
1 | G1_S1 | crucible_sample_g | 1 | 27.226 | g | 554 |  | brown_rice
1 | G1_S1 | crucible_ash_g | 1 | 24.8 | g | 554 |  | brown_rice
1 | G1_S1 | crucible_empty_g | 1 | 27.8632 | g | 546 |  | polished_rice
1 | G1_S1 | crucible_sample_g | 1 | 30.4196 | g | 546 |  | polished_rice
1 | G1_S1 | crucible_ash_g | 1 | 27.8765 | g | 546 |  | polished_rice
1 | G1_S1 | crucible_empty_g | 1 | 27.3275 | g | 550 |  | milk_powder
1 | G1_S1 | crucible_sample_g | 1 | 29.7796 | g | 550 |  | milk_powder
1 | G1_S1 | crucible_ash_g | 1 | 27.4826 | g | 550 |  | milk_powder
2 | G2_S1 | crucible_empty_g | 1 | 28.5485 | g | 549 |  | black_sugar
2 | G2_S1 | crucible_sample_g | 1 | 31.0145 | g | 549 |  | black_sugar
2 | G2_S1 | crucible_ash_g | 1 | 28.5877 | g | 549 |  | black_sugar
2 | G2_S1 | crucible_empty_g | 1 | 28.6703 | g | 552 |  | white_sugar
2 | G2_S1 | crucible_sample_g | 1 | 31.1527 | g | 552 |  | white_sugar
2 | G2_S1 | crucible_ash_g | 1 | 28.6712 | g | 552 |  | white_sugar
2 | G2_S1 | crucible_empty_g | 1 | 24.9257 | g | 548 |  | brown_rice
2 | G2_S1 | crucible_sample_g | 1 | 27.4472 | g | 548 |  | brown_rice
2 | G2_S1 | crucible_ash_g | 1 | 24.9604 | g | 548 |  | brown_rice
2 | G2_S1 | crucible_empty_g | 1 | 25.955 | g | 556 |  | polished_rice
2 | G2_S1 | crucible_sample_g | 1 | 28.4143 | g | 556 |  | polished_rice
2 | G2_S1 | crucible_ash_g | 1 | 25.9679 | g | 556 |  | polished_rice
2 | G2_S1 | crucible_empty_g | 1 | 24.7795 | g | 553 |  | milk_powder
2 | G2_S1 | crucible_sample_g | 1 | 27.2375 | g | 553 |  | milk_powder
2 | G2_S1 | crucible_ash_g | 1 | 24.9195 | g | 553 |  | milk_powder
3 | G3_S1 | crucible_empty_g | 1 | 26.6229 | g | 551 |  | black_sugar
3 | G3_S1 | crucible_sample_g | 1 | 29.1501 | g | 551 |  | black_sugar
3 | G3_S1 | crucible_ash_g | 1 | 26.6584 | g | 551 |  | black_sugar
3 | G3_S1 | crucible_empty_g | 1 | 26.3249 | g | 551 |  | white_sugar
3 | G3_S1 | crucible_sample_g | 1 | 28.8358 | g | 551 |  | white_sugar
3 | G3_S1 | crucible_ash_g | 1 | 26.3259 | g | 551 |  | white_sugar
3 | G3_S1 | crucible_empty_g | 1 | 25.1994 | g | 553 |  | brown_rice
3 | G3_S1 | crucible_sample_g | 1 | 27.7028 | g | 553 |  | brown_rice
3 | G3_S1 | crucible_ash_g | 1 | 25.23 | g | 553 |  | brown_rice
3 | G3_S1 | crucible_empty_g | 1 | 28.231 | g | 547 |  | polished_rice
3 | G3_S1 | crucible_sample_g | 1 | 30.715 | g | 547 |  | polished_rice
3 | G3_S1 | crucible_ash_g | 1 | 28.243 | g | 547 |  | polished_rice
3 | G3_S1 | crucible_empty_g | 1 | 24.8388 | g | 555 |  | milk_powder
3 | G3_S1 | crucible_sample_g | 1 | 27.4135 | g | 555 |  | milk_powder
3 | G3_S1 | crucible_ash_g | 1 | 24.985 | g | 555 |  | milk_powder
4 | G4_S1 | crucible_empty_g | 1 | 27.3914 | g | 553 |  | black_sugar
4 | G4_S1 | crucible_sample_g | 1 | 29.8747 | g | 553 |  | black_sugar
4 | G4_S1 | crucible_ash_g | 1 | 27.4283 | g | 553 |  | black_sugar
4 | G4_S1 | crucible_empty_g | 1 | 27.3552 | g | 548 |  | white_sugar
4 | G4_S1 | crucible_sample_g | 1 | 29.8949 | g | 548 |  | white_sugar
4 | G4_S1 | crucible_ash_g | 1 | 27.3559 | g | 548 |  | white_sugar
4 | G4_S1 | crucible_empty_g | 1 | 25.2875 | g | 544 |  | brown_rice
4 | G4_S1 | crucible_sample_g | 1 | 27.7779 | g | 544 |  | brown_rice
4 | G4_S1 | crucible_ash_g | 1 | 25.3148 | g | 544 |  | brown_rice
4 | G4_S1 | crucible_empty_g | 1 | 24.3498 | g | 553 |  | polished_rice
4 | G4_S1 | crucible_sample_g | 1 | 26.8747 | g | 553 |  | polished_rice
4 | G4_S1 | crucible_ash_g | 1 | 24.3626 | g | 553 |  | polished_rice
4 | G4_S1 | crucible_empty_g | 1 | 27.3422 | g | 548 |  | milk_powder
4 | G4_S1 | crucible_sample_g | 1 | 29.8501 | g | 548 |  | milk_powder
4 | G4_S1 | crucible_ash_g | 1 | 27.4985 | g | 548 |  | milk_powder
5 | G5_S1 | crucible_empty_g | 1 | 28.8841 | g | 548 |  | black_sugar
5 | G5_S1 | crucible_sample_g | 1 | 31.351 | g | 548 |  | black_sugar
5 | G5_S1 | crucible_ash_g | 1 | 28.9195 | g | 548 |  | black_sugar
5 | G5_S1 | crucible_empty_g | 1 | 28.3342 | g | 550 |  | white_sugar
5 | G5_S1 | crucible_sample_g | 1 | 30.8585 | g | 550 |  | white_sugar
5 | G5_S1 | crucible_ash_g | 1 | 28.3348 | g | 550 |  | white_sugar
5 | G5_S1 | crucible_empty_g | 1 | 24.9139 | g | 550 |  | brown_rice
5 | G5_S1 | crucible_sample_g | 1 | 27.4362 | g | 550 |  | brown_rice
5 | G5_S1 | crucible_ash_g | 1 | 24.9455 | g | 550 |  | brown_rice
5 | G5_S1 | crucible_empty_g | 1 | 25.8091 | g | 543 |  | polished_rice
5 | G5_S1 | crucible_sample_g | 1 | 28.3051 | g | 543 |  | polished_rice
5 | G5_S1 | crucible_ash_g | 1 | 25.8199 | g | 543 |  | polished_rice
5 | G5_S1 | crucible_empty_g | 1 | 24.708 | g | 545 |  | milk_powder
5 | G5_S1 | crucible_sample_g | 1 | 27.1581 | g | 545 |  | milk_powder
5 | G5_S1 | crucible_ash_g | 1 | 24.8586 | g | 545 |  | milk_powder
1 | G1_S1 | na_ise_ppm | 1 | 1198.4 | ppm | 25.9 |  | soy_sauce
1 | G1_S1 | na_ise_ppm | 1 | 273.9 | ppm | 25.4 |  | potato_chips
1 | G1_S1 | na_ise_ppm | 1 | 153.2 | ppm | 24.5 |  | instant_soup
1 | G1_S1 | na_ise_ppm | 1 | 200.4 | ppm | 25.8 |  | sports_drink
1 | G1_S1 | na_ise_ppm | 1 | 232 | ppm | 24.4 |  | milk_powder
2 | G2_S1 | na_ise_ppm | 1 | 1216.8 | ppm | 25.2 |  | soy_sauce
2 | G2_S1 | na_ise_ppm | 1 | 272.4 | ppm | 25.7 |  | potato_chips
2 | G2_S1 | na_ise_ppm | 1 | 156.2 | ppm | 25.4 |  | instant_soup
2 | G2_S1 | na_ise_ppm | 1 | 205.6 | ppm | 25.3 |  | sports_drink
2 | G2_S1 | na_ise_ppm | 1 | 235.7 | ppm | 25.3 |  | milk_powder
3 | G3_S1 | na_ise_ppm | 1 | 1183.8 | ppm | 24.8 |  | soy_sauce
3 | G3_S1 | na_ise_ppm | 1 | 277.3 | ppm | 25 |  | potato_chips
3 | G3_S1 | na_ise_ppm | 1 | 158.5 | ppm | 24.3 |  | instant_soup
3 | G3_S1 | na_ise_ppm | 1 | 211 | ppm | 25.2 |  | sports_drink
3 | G3_S1 | na_ise_ppm | 1 | 224.9 | ppm | 25.9 |  | milk_powder
4 | G4_S1 | na_ise_ppm | 1 | 1198.2 | ppm | 24.7 |  | soy_sauce
4 | G4_S1 | na_ise_ppm | 1 | 279.8 | ppm | 24 |  | potato_chips
4 | G4_S1 | na_ise_ppm | 1 | 151.6 | ppm | 25 |  | instant_soup
4 | G4_S1 | na_ise_ppm | 1 | 206 | ppm | 24.2 |  | sports_drink
4 | G4_S1 | na_ise_ppm | 1 | 237.6 | ppm | 25 |  | milk_powder
5 | G5_S1 | na_ise_ppm | 1 | 1216.4 | ppm | 25.1 |  | soy_sauce
5 | G5_S1 | na_ise_ppm | 1 | 263.2 | ppm | 24.5 |  | potato_chips
5 | G5_S1 | na_ise_ppm | 1 | 153.6 | ppm | 25 |  | instant_soup
5 | G5_S1 | na_ise_ppm | 1 | 201.9 | ppm | 24 |  | sports_drink
5 | G5_S1 | na_ise_ppm | 1 | 233.1 | ppm | 25.8 |  | milk_powder
1 | G1_S2 | std_addition_before_ppm | 1 | 297.6 | ppm | 25 |  | soy_sauce
1 | G1_S2 | std_addition_after_ppm | 1 | 497.8 | ppm | 25 |  | soy_sauce
2 | G2_S2 | std_addition_before_ppm | 1 | 274.9 | ppm | 25 |  | soy_sauce
2 | G2_S2 | std_addition_after_ppm | 1 | 477.7 | ppm | 25 |  | soy_sauce
3 | G3_S2 | std_addition_before_ppm | 1 | 299.2 | ppm | 25 |  | soy_sauce
3 | G3_S2 | std_addition_after_ppm | 1 | 503.2 | ppm | 25 |  | soy_sauce
4 | G4_S2 | std_addition_before_ppm | 1 | 302 | ppm | 25 |  | soy_sauce
4 | G4_S2 | std_addition_after_ppm | 1 | 453.7 | ppm | 25 | 回收率 < 90%，疑似基質效應或加標體積誤差，建議重做 | soy_sauce
5 | G5_S2 | std_addition_before_ppm | 1 | 292.5 | ppm | 25 |  | soy_sauce
5 | G5_S2 | std_addition_after_ppm | 1 | 485.6 | ppm | 25 |  | soy_sauce
0 | QC_standard | drift_check_ppm | 0 | 988.4 | ppm | 25 |  | Na_1000ppm_std
0 | QC_standard | drift_check_ppm | 10 | 991.3 | ppm | 25 |  | Na_1000ppm_std
0 | QC_standard | drift_check_ppm | 20 | 1025.5 | ppm | 25 |  | Na_1000ppm_std
0 | QC_standard | drift_check_ppm | 30 | 990.1 | ppm | 25 |  | Na_1000ppm_std
0 | QC_standard | drift_check_ppm | 40 | 1061 | ppm | 25 |  | Na_1000ppm_std
0 | QC_standard | drift_check_ppm | 50 | 989.2 | ppm | 25 |  | Na_1000ppm_std
1 | G1_S3 | nernst_mV | 1 | 101.1 | mV | 25 |  | std_100ppm
1 | G1_S3 | nernst_mV | 1 | 159.7 | mV | 25 |  | std_1000ppm
2 | G2_S3 | nernst_mV | 1 | 99.8 | mV | 25 |  | std_100ppm
2 | G2_S3 | nernst_mV | 1 | 159.2 | mV | 25 |  | std_1000ppm
3 | G3_S3 | nernst_mV | 1 | 99.2 | mV | 25 |  | std_100ppm
3 | G3_S3 | nernst_mV | 1 | 159.7 | mV | 25 |  | std_1000ppm
4 | G4_S3 | nernst_mV | 1 | 99.5 | mV | 25 |  | std_100ppm
4 | G4_S3 | nernst_mV | 1 | 157.7 | mV | 25 |  | std_1000ppm
5 | G5_S3 | nernst_mV | 1 | 98.5 | mV | 25 |  | std_100ppm
5 | G5_S3 | nernst_mV | 1 | 159.4 | mV | 25 |  | std_1000ppm

## 2_灰分
步驟 1 灰分 %（乾式灰化，550 °C）
灰分％ = 灰分重 ÷ 樣品重 × 100。三個秤重都是「坩堝的重量」，先相減得到樣品重與灰分重，再相除。灰化後要反覆加熱、冷卻、秤重，直到兩次相差 ≤ 0.5 mg（恆重）才記錄。
1-1 講義範例（黑糖）：先用這一題確認你懂公式
坩堝空重 W₀ (g) |  |  | 26.184
坩堝＋樣品 W₁ (g) |  |  | 28.696
灰化後坩堝＋灰分（恆重）W₂ (g) |  |  | 26.221
樣品重 = W₁ − W₀ (g) | [7 empty] | 應為 2.512 g
灰分重 = W₂ − W₀ (g) | [7 empty] | 應為 0.037 g
灰分 % = 灰分重 ÷ 樣品重 × 100 | [7 empty] | 應約為 1.47 %。注意：灰分重只有幾十 mg，天平讀錯 1 mg 灰分％就差約 3%（相對）。
1-2 各組灰分（從原始數據自動抓）
組別 | 樣品 | 坩堝空重 W₀ (g) | 坩堝＋樣品 W₁ (g) | 灰化後坩堝＋灰分 W₂ (g) | 樣品重 (g) | 灰分重 (g) | 灰分 %（濕基）
1 | black_sugar | [6 empty] | C–E 欄的公式：=AVERAGEIFS(value 欄, item 欄,"crucible_empty_g", sample 欄, B14, group 欄, A14)。意思是「在原始數據裡，找 item、樣品、組別都符合的那一列，把 value 拿過來」。找不到時顯示空白。
1 | white_sugar
1 | brown_rice | [6 empty] | F＝D−C（樣品重），G＝E−C（灰分重），H＝G÷F×100。分母是「樣品濕重」，所以是濕基灰分％。
1 | polished_rice
1 | milk_powder | [6 empty] | 組數不同：在表格中間插入列，把上一列整列複製下來，再改 A、B 欄（黃色）。下面的統計範圍會自動跟著擴大。
2 | black_sugar
2 | white_sugar
2 | brown_rice
2 | polished_rice
2 | milk_powder
3 | black_sugar
3 | white_sugar
3 | brown_rice
3 | polished_rice
3 | milk_powder
4 | black_sugar
4 | white_sugar
4 | brown_rice
4 | polished_rice
4 | milk_powder
5 | black_sugar
5 | white_sugar
5 | brown_rice
5 | polished_rice
5 | milk_powder
1-3 各樣品的全班平均、SD、RSD
樣品 | 中文 | n | 平均灰分 % | SD (%) | RSD (%)
white_sugar | 白糖 | [6 empty] | n：SUMPRODUCT((樣品欄=A)*ISNUMBER(灰分%欄)) 數「這個樣品有幾個數字」。平均：AVERAGEIF(樣品欄, A, 灰分%欄) 只平均符合條件的格子。
polished_rice | 白米 | [6 empty] | SD：Excel 沒有 STDEV.IFS，所以用陣列公式 {=STDEV.S(IF(樣品欄=A, 灰分%欄))}：IF 先把不符合的格子變成 FALSE，STDEV.S 只算剩下的數字（樣本標準差，除以 n−1）。舊版 Excel 自己輸入時要按 Ctrl+Shift+Enter；Excel 365 直接 Enter。
brown_rice | 糙米 | [6 empty] | RSD＝SD÷平均×100。白糖灰分極低（只有零點幾 mg），天平的 0.1 mg 誤差就佔很大比例，所以 RSD 特別大。
black_sugar | 黑糖 | [6 empty] | 解讀：黑糖／糙米灰分明顯高於白糖／白米，這是「精製程度」的指標。但灰分只代表「總無機殘留物」，不能告訴你是哪一種礦物質、有多少鈉或鹽；鈉要用下一張的 Na⁺ ISE 才能回答。
milk_powder | 全脂奶粉（盲樣）

## 3_鈉與NaCl
步驟 2 Na⁺ ISE 讀數 × 稀釋倍數 → 樣品的鈉濃度 → NaCl 當量
ISE 讀到的是「上機溶液」的濃度（ppm＝mg/L）。乘上稀釋倍數 D 才回到原樣品；再換成每 100 mL 或每 100 g。NaCl 當量＝Na × 58.44／22.99（≈ 2.542）。
2-1 換算係數
Na 原子量 |  | 22.99
NaCl 式量 |  | 58.44
NaCl ÷ Na 係數 |  |  | =58.44/22.99 ≈ 2.542：1 g 鈉相當於 2.542 g 食鹽。
2-2 講義範例：醬油稀釋 1:50，ISE 讀數 1100 ppm
ISE 讀數 (ppm = mg/L) |  | 1100
稀釋倍數 D |  | 50
原醬油 Na (g/L) = 讀數 × D ÷ 1000
原醬油 Na (g/100 mL) = g/L ÷ 10 |  |  | 應為 5.50 g/100 mL
NaCl 當量 (g/100 mL) = Na × 2.542 |  |  | 應約為 13.98 g/100 mL。練習題 2 用這一塊：把 C10、C11 改成題目的數字。
2-3 各產品：全班讀數 → 每 100 g（或 100 mL）的鈉
|  |  | 組別 → | 1 | 2 | 3 | 4 | 5
產品 | 中文 | 稀釋倍數 D | 結果基準 | 讀數 (ppm) | 讀數 (ppm) | 讀數 (ppm) | 讀數 (ppm) | 讀數 (ppm) | n | 平均讀數 (ppm) | SD 讀數 | Na (mg/100 g 或 mL) | SD Na | NaCl 當量 (g/100 g 或 mL) | 醬油、運動飲料是液體，結果是「每 100 mL」。要跟每 100 g 的資料庫比時，要再除以密度（見「6_資料庫比對」）。
soy_sauce | 醬油 | 50 | mg/100 mL
potato_chips | 洋芋片 |  | mg/100 g
instant_soup | 即食湯（沖泡後） | 20 | mg/100 g
sports_drink | 運動飲料 | 1 | mg/100 mL（≈100 g）
milk_powder | 全脂奶粉（盲樣） | 20 | mg/100 g
公式說明
讀數 |  | =AVERAGEIFS(value, item,"na_ise_ppm", sample, A19, group, E17) 依產品和組別把讀數抓過來。組數不同就改第 17 列的組別號碼（插入欄可加組）。
稀釋倍數 D |  | 液體：「1:50」就是 D = 50。固體：D = 定容體積 (mL) ÷ 樣品重 (g)。洋芋片是 5.00 g 萃取成 100 mL，所以 D = 100 ÷ 5 = 20。
Na (mg/100) |  | = 平均讀數 × D ÷ 10。讀數 (mg/L) × D 是原樣品每公升（或每 1000 g）的 mg；÷ 10 換成每 100 mL（或 100 g）。
SD Na |  | = SD 讀數 × D ÷ 10。乘上常數，SD 也跟著乘。
NaCl 當量 |  | = Na (mg/100) × 2.542 ÷ 1000，單位 g/100 g。前提是「所有的鈉都來自食鹽」，其實味精、小蘇打、苯甲酸鈉也含鈉。
n、平均、SD |  | COUNT 數有幾個數字、AVERAGE 平均、STDEV.S 樣本標準差（除以 n−1）。空白格會自動略過。

## 4_回收率與飄移
步驟 3 品管：標準添加回收率、飄移檢查、（選用）Nernst 斜率
3-1 標準添加回收率（醬油）
加標量 (ppm) | 200 | 回收率 % ＝（加標後讀數 − 加標前讀數）÷ 加標量 × 100。教學判準：90–110% 可接受。
可接受下限 (%) | 90
可接受上限 (%) | 110
組別 | 加標前 (ppm) | 加標後 (ppm) | 回收率 (%) | 判定 | 原始數據 note
1 | [9 empty] | B、C 欄：AVERAGEIFS 依組別抓 std_addition_before_ppm／after_ppm。E 欄：IF(AND(回收率 ≥ 下限, 回收率 ≤ 上限), "合格", "不合格")。
2 | [9 empty] | F 欄把原始數據的 note 抓過來（陣列公式 INDEX＋MATCH）。回收率 < 90% 常見原因：基質效應、加標體積量錯、電極反應慢沒等讀數穩定。
3
4
5
練習計算區（練習題 1 用）
加標前 (ppm) | 297.6 | 預設是第 1 組的數字（回收率 100.10%）。把黃色格子改成題目的數字即可。
加標後 (ppm) | 497.8
加標量 (ppm) | 200
回收率 (%)
判定
3-2 飄移檢查（drift check）：每測約 10 個樣品重測一次 1000 ppm 標準液
標準液標稱值 (ppm) | 1000 | 偏差 % ＝（讀數 − 標稱值）÷ 標稱值 × 100。超過 ±5% 就要重新校正電極，並回頭重測上一次合格之後的樣品。
容許偏差 ± (%) | 5
圖用輔助數據（容許線，自動計算）
第幾個樣品時 | 讀數 (ppm) | 偏差 (%) | 判定 |  |  | 圖：x | +限 | −限 | 0
0 | [9 empty] | B 欄：AVERAGEIFS(value, item,"drift_check_ppm", rep, A 欄)。原始數據裡 rep 就是「第幾個樣品時重測」。重測次數不同：在表格中間插入列再改 A 欄（圖會跟著更新）。
10 | [9 empty] | 看圖：藍線是每次重測的偏差；兩條虛線是 ±5%。超出虛線的那一點（本範例第 40 個樣品，+6.1%）代表電極飄移了：第 30～40 個樣品的結果不可信，要重新校正後重測。
20
30
40
50
3-3（選用）兩點 Nernst 斜率：電極健康檢查
低濃度標準液 (ppm) | 100 | std_100ppm | C 欄是原始數據 sample 欄的名稱。斜率 ＝（mV₂ − mV₁）÷（log₁₀C₂ − log₁₀C₁）。濃度差 10 倍時，分母剛好是 1。
高濃度標準液 (ppm) | 1000 | std_1000ppm
理論斜率 (mV/decade, 25 °C) | 59.2
組別 | mV（低） | mV（高） | 斜率 (mV/decade) | 與理論差 (%)
1 | [9 empty] | LOG10 是以 10 為底的對數。健康的 Na⁺ 電極在 25 °C 斜率約 59 mV/decade；明顯偏低（例如 < 55）代表電極老化或膜被污染，要保養或更換。
2
3
4
5
班級平均

## 5_標示比較
步驟 4 量測鈉 vs 營養標示鈉（換成每 100 g 再比）
包裝標示是「每份」。先把標示換成每 100 g：標示 mg／份 ÷ 每份克數 × 100，才能跟量測值比。
產品 | 中文 | 標示鈉 (mg/份) | 每份 (g) | 標示 (mg/100 g) | 量測 (mg/100 g) | 差異 (%) | 量測低於標示？
|  | 850 | 15 |  |  |  |  | E＝C÷D×100；F 從「3_鈉與NaCl」M 欄抓（醬油再除以密度）；差異 %＝（量測 − 標示）÷ 標示 × 100。
|  | 180 | 30 |  |  |  |  | 差異的可能來源：秤重或稀釋誤差、批次不同、標示四捨五入，以及非 NaCl 的含鈉成分（味精 MSG、小蘇打 NaHCO₃、苯甲酸鈉…）——它們都貢獻鈉，但不是鹽。量測低於標示不一定代表標示造假。
|  | 750 | 250 |  |  |  |  | 醬油是液體，量測值是 mg/100 mL，標示是 mg/100 g，所以 F 欄先除以密度（1.18 g/mL，教學假設，在「6_資料庫比對」H10 可改）。沒除密度會算出比標示高約 6%，除了之後反而低約 10%——基準沒對齊，結論會相反。
|  | 110 | 500
|  | 120 | 25
縱軸是對數刻度（每一格差 10 倍），醬油和運動飲料差了 300 倍，才能畫在同一張圖上。兩根柱子高度越接近，量測越接近標示。

## 6_資料庫比對
步驟 5 用官方食物成分資料庫檢查：我的數據合理嗎？
資料庫 ≠ 標示 ≠ 實驗值。三者不一致時，先排除「自己算錯」（單位、稀釋倍數、乾／濕基、換算係數），再考慮「方法偏差」，最後才是「樣品本來就不一樣」。資料庫數字在「7_參考資料」（USDA FoodData Central 與 衛福部食藥署 食品營養成分資料庫）。
5-1 教學預設容許差（教學假設，不是資料庫數值）
營養素 | 相對容許差 | 絕對下限 | 單位 |  | 合理範圍怎麼來：每一筆資料庫值先算自己的區間——有 min–max 就用 min–max；有 SD 且 n ≥ 2 就用 平均 ± 2 SD；而且至少保留「數值 ± max(相對容許差 × 數值, 絕對下限)」。再把同一食品的各筆區間聯集起來＝合理範圍。每一筆的區間在「7_參考資料」T、U 欄。
water | 10% | 0.3 | g/100 g
protein | 10% | 0.3 | g/100 g
fat | 15% | 0.3 | g/100 g
ash | 15% | 0.05 | g/100 g
carbohydrate | 10% | 1 | g/100 g |  | 醬油密度 (g/mL) |  | 1.18 | 教學假設（醬油約 1.15–1.20 g/mL），請實際秤 10.00 mL 醬油確認。運動飲料與沖泡湯密度接近 1。
sugars_total | 15% | 0.5 | g/100 g
sodium | 15% | 5 | mg/100 g
5-2 全班平均 vs 資料庫合理範圍
標籤 | food_key（資料庫品項） | 營養素 | 報告值 | 密度 (g/mL) | 實測（每 100 g，濕基） | SD | 稀釋倍數 D | 參考下限 | 參考上限 | 參考中心 | 實測 ÷ 中心 | 判定 | 涵蓋筆數 | 資料庫水分 (g/100 g) | ⚑ 旗標（可能算錯的提示）
black_sugar | brown_sugar | ash | [13 empty] | A 欄是本檔的樣品名稱（黃色 B 欄是對應的資料庫品項，可改）。D＝報告值：灰分來自「2_灰分」的全班平均，鈉來自「3_鈉與NaCl」M 欄。
white_sugar | white_sugar | ash | [13 empty] | E＝密度：醬油的結果是 mg/100 mL，資料庫是 mg/100 g，所以 F ＝ D ÷ 密度。SD 也一樣除以密度。
brown_rice | brown_rice | ash | [13 empty] | I、J＝合理範圍：陣列公式 {=MIN(IF((品項=B)*(營養素=C), 每筆下限))}，就是在「7_參考資料」裡，只挑這個食品、這個營養素的列，取最小的下限／最大的上限。
polished_rice | white_rice | ash | [13 empty] | K＝參考中心：各筆資料庫值的平均（AVERAGEIFS）。L＝實測 ÷ 中心，≈ 1 表示跟資料庫差不多。
milk_powder | whole_milk_powder | ash | [13 empty] | M＝判定：比下限小是「偏低」、比上限大是「偏高」。N＝有幾筆資料庫值的區間涵蓋你的數字；若只有 1 筆撐住「範圍內」，解讀要保守。
soy_sauce | soy_sauce | sodium | [13 empty] | P＝旗標（只是提示，不是判決）：比值 ≈ 10、100、1000、2.542 或稀釋倍數，多半是單位／換算錯；數值剛好接近「乾基」參考值，多半是基準錯。
potato_chips | potato_chips | sodium | [13 empty] | 即食湯要對應「沖泡後」的湯（soup_prepared），不能跟乾粉比；黑糖對應的 USDA brown sugar 是美式紅糖，不是台灣黑糖（match = closest）。
instant_soup | soup_prepared | sodium
sports_drink | sports_drink | sodium
milk_powder | whole_milk_powder | sodium
5-3 每一組各自的灰分判定（⚑ = 接近乾基值，請檢查分母）
注意第 2 組的糙米：它是用濕基算的，但剛好比資料庫中心高約 15%，碰巧接近「乾基換算值」而觸發 ⚑。這是啟發式提問，不是判決；對水分約 12% 的穀物，比資料庫高約 8–20% 的濕基數值都可能觸發。回頭確認分母是濕重就好。
組別 | black_sugar | white_sugar | brown_rice | polished_rice | milk_powder
1
2
3
4
5
5-4 故意算錯的三個例子：看旗標怎麼抓錯（G6–G8 為虛構組別）
標籤 | food_key（資料庫品項） | 營養素 | 報告值 | 密度 (g/mL) | 實測（每 100 g，濕基） | SD | 稀釋倍數 D | 參考下限 | 參考上限 | 參考中心 | 實測 ÷ 中心 | 判定 | 涵蓋筆數 | 資料庫水分 (g/100 g) | ⚑ 旗標（可能算錯的提示）
G6 讀數×50 當成 mg/100 g | soy_sauce | sodium |  |  |  |  | 50 | [8 empty] | G6：醬油讀數 × 稀釋倍數 50 得到的是 mg/L（= ppm），卻直接寫成 mg/100 g（差 10 倍）。
G7 上機讀數直接報告 | soy_sauce | sodium |  |  |  |  | 50 | [8 empty] | G7：把上機讀數（稀釋 50 倍後的 ppm）直接當成 mg/100 g 報告。
G8 糙米灰分用乾基 | brown_rice | ash | [13 empty] | G8：糙米灰分以乾基計算（÷ 乾物重），卻當成一般濕基數值報告。它在「範圍內」，但旗標仍然抓得到。
G6/G7 改正（你算的，mg/100 mL） | soy_sauce | sodium |  |  |  |  | 50 | [8 empty] | 練習題 6：在黃色 D 欄填你改正後的醬油 Na（mg/100 mL；E 欄會自動除以密度），看判定與旗標怎麼變。
G8 改正（你算的，濕基） | brown_rice | ash | [13 empty] | 練習題 6：填你改正後的糙米濕基灰分 %。
基準很重要：同一包即食湯，乾粉與沖泡後差幾十倍
乾粉資料庫平均 (mg/100 g) |  |  |  | 把沖泡後的湯拿去跟乾粉資料庫比，一定會「偏低」幾十倍——那不是量錯，是基準選錯。
本班即食湯（沖泡後）(mg/100 g)
倍數

## 7_參考資料
food_key | name_zh | db | dataset | id | name | match | n_factor | nutrient | value | unit | n | sd | min | max | median | derivation | 相對容許差 | 絕對下限 | 本筆下限 | 本筆上限 | 涵蓋本班值？ | 這張工作表是什麼
whole_milk_powder | 全脂奶粉 | USDA | SR Legacy | 170876 | Milk, dry, whole, with added vitamin D | exact | 6.38 | water | 2.47 | g | 25 | [10 empty] | 內容＝課程的 data/reference_foods.csv（原樣貼上，灰色；一般不用改）。每一列是「一個食品 × 一筆資料庫品項 × 一個營養素」，數值都是每 100 g 可食部分（鈉為 mg，其他為 g）。
whole_milk_powder | 全脂奶粉 | USDA | SR Legacy | 170876 | Milk, dry, whole, with added vitamin D | exact | 6.38 | protein | 26.32 | g | 22 | [10 empty] | 資料來源：USDA FoodData Central（SR Legacy 2018-04；Foundation Foods 2026-04-30），公共領域／CC0 1.0。
whole_milk_powder | 全脂奶粉 | USDA | SR Legacy | 170876 | Milk, dry, whole, with added vitamin D | exact | 6.38 | fat | 26.71 | g | 30 | [10 empty] | 資料來源：衛生福利部食品藥物管理署「食品營養成分資料庫」（政府資料開放平臺 data.gov.tw 資料集 8543），依政府資料開放授權條款第1版釋出。使用本表數字時請註明出處。
whole_milk_powder | 全脂奶粉 | USDA | SR Legacy | 170876 | Milk, dry, whole, with added vitamin D | exact | 6.38 | ash | 6.08 | g | 20 | [10 empty] | n＝樣本數（USDA 為 data points；n = 0 代表不是直接分析值，看 derivation）。sd 只有 TFND 有；min／max 只有部分 USDA 品項有。
whole_milk_powder | 全脂奶粉 | USDA | SR Legacy | 170876 | Milk, dry, whole, with added vitamin D | exact | 6.38 | carbohydrate | 38.42 | g | 0 |  |  |  |  | NC: Calculated | [5 empty] | match = closest 代表只是最接近的品項（例如 USDA 的 brown sugar 是美式紅糖，不是台灣黑糖）。
whole_milk_powder | 全脂奶粉 | USDA | SR Legacy | 170876 | Milk, dry, whole, with added vitamin D | exact | 6.38 | sugars_total | 38.42 | g | 0 |  |  |  |  | NR: Nutrient that is based on other nutrient/s; value used directly, ex. Nut.#204 from Nut.#298 | [5 empty] | 綠色 R–U 欄：教學預設容許差與「本筆」的合理區間。T＝MAX(0, …)：有 min、max 就取 min(數值 − 容許差, min)；有 SD 且 n ≥ 2 就取 min(數值 − 容許差, 平均 − 2 SD)；否則就是 數值 − 容許差。U 同理取最大。
whole_milk_powder | 全脂奶粉 | USDA | SR Legacy | 170876 | Milk, dry, whole, with added vitamin D | exact | 6.38 | sodium | 371 | mg | 7 | [10 empty] | V 欄：這一筆資料庫區間有沒有涵蓋「6_資料庫比對」算出的全班值（逐筆看，避免只被其中一個資料庫撐住）。
whole_milk_powder | 全脂奶粉 | USDA | SR Legacy | 173454 | Milk, dry, whole, without added vitamin D | exact | 6.38 | water | 2.47 | g | 25
whole_milk_powder | 全脂奶粉 | USDA | SR Legacy | 173454 | Milk, dry, whole, without added vitamin D | exact | 6.38 | protein | 26.32 | g | 22
whole_milk_powder | 全脂奶粉 | USDA | SR Legacy | 173454 | Milk, dry, whole, without added vitamin D | exact | 6.38 | fat | 26.71 | g | 30
whole_milk_powder | 全脂奶粉 | USDA | SR Legacy | 173454 | Milk, dry, whole, without added vitamin D | exact | 6.38 | ash | 6.08 | g | 20
whole_milk_powder | 全脂奶粉 | USDA | SR Legacy | 173454 | Milk, dry, whole, without added vitamin D | exact | 6.38 | carbohydrate | 38.42 | g | 0 |  |  |  |  | NC: Calculated
whole_milk_powder | 全脂奶粉 | USDA | SR Legacy | 173454 | Milk, dry, whole, without added vitamin D | exact | 6.38 | sugars_total | 38.42 | g | 0 |  |  |  |  | NR: Nutrient that is based on other nutrient/s; value used directly, ex. Nut.#204 from Nut.#298
whole_milk_powder | 全脂奶粉 | USDA | SR Legacy | 173454 | Milk, dry, whole, without added vitamin D | exact | 6.38 | sodium | 371 | mg | 7
whole_milk_powder | 全脂奶粉 | TFND | 食品營養成分資料集 | L0200101 | 全脂奶粉 | exact |  | water | 2.8 | g | 2 | 0.1
whole_milk_powder | 全脂奶粉 | TFND | 食品營養成分資料集 | L0200101 | 全脂奶粉 | exact |  | protein | 26.4 | g | 2 | 0.3
whole_milk_powder | 全脂奶粉 | TFND | 食品營養成分資料集 | L0200101 | 全脂奶粉 | exact |  | fat | 28.2 | g | 2 | 0.6
whole_milk_powder | 全脂奶粉 | TFND | 食品營養成分資料集 | L0200101 | 全脂奶粉 | exact |  | ash | 5.6 | g | 2 | 0
whole_milk_powder | 全脂奶粉 | TFND | 食品營養成分資料集 | L0200101 | 全脂奶粉 | exact |  | carbohydrate | 37 | g
whole_milk_powder | 全脂奶粉 | TFND | 食品營養成分資料集 | L0200101 | 全脂奶粉 | exact |  | sugars_total | 36.4 | g
whole_milk_powder | 全脂奶粉 | TFND | 食品營養成分資料集 | L0200101 | 全脂奶粉 | exact |  | sodium | 337 | mg | 2 | 70
nonfat_milk_powder | 脫脂奶粉 | USDA | SR Legacy | 170877 | Milk, dry, nonfat, regular, without added vitamin A and vitamin D | exact | 6.38 | water | 3.16 | g | 382
nonfat_milk_powder | 脫脂奶粉 | USDA | SR Legacy | 170877 | Milk, dry, nonfat, regular, without added vitamin A and vitamin D | exact | 6.38 | protein | 36.16 | g | 183
nonfat_milk_powder | 脫脂奶粉 | USDA | SR Legacy | 170877 | Milk, dry, nonfat, regular, without added vitamin A and vitamin D | exact | 6.38 | fat | 0.77 | g | 351
nonfat_milk_powder | 脫脂奶粉 | USDA | SR Legacy | 170877 | Milk, dry, nonfat, regular, without added vitamin A and vitamin D | exact | 6.38 | ash | 7.93 | g | 104
nonfat_milk_powder | 脫脂奶粉 | USDA | SR Legacy | 170877 | Milk, dry, nonfat, regular, without added vitamin A and vitamin D | exact | 6.38 | carbohydrate | 51.98 | g | 0 |  |  |  |  | NC: Calculated
nonfat_milk_powder | 脫脂奶粉 | USDA | SR Legacy | 170877 | Milk, dry, nonfat, regular, without added vitamin A and vitamin D | exact | 6.38 | sugars_total | 51.98 | g | 0 |  |  |  |  | NR: Nutrient that is based on other nutrient/s; value used directly, ex. Nut.#204 from Nut.#298
nonfat_milk_powder | 脫脂奶粉 | USDA | SR Legacy | 170877 | Milk, dry, nonfat, regular, without added vitamin A and vitamin D | exact | 6.38 | sodium | 535 | mg | 6
nonfat_milk_powder | 脫脂奶粉 | TFND | 食品營養成分資料集 | L0207101 | 脫脂奶粉 | exact |  | water | 4 | g | 1
nonfat_milk_powder | 脫脂奶粉 | TFND | 食品營養成分資料集 | L0207101 | 脫脂奶粉 | exact |  | protein | 36.2 | g | 1
nonfat_milk_powder | 脫脂奶粉 | TFND | 食品營養成分資料集 | L0207101 | 脫脂奶粉 | exact |  | fat | 0.9 | g | 1
nonfat_milk_powder | 脫脂奶粉 | TFND | 食品營養成分資料集 | L0207101 | 脫脂奶粉 | exact |  | ash | 7.7 | g | 1
nonfat_milk_powder | 脫脂奶粉 | TFND | 食品營養成分資料集 | L0207101 | 脫脂奶粉 | exact |  | carbohydrate | 51.2 | g
nonfat_milk_powder | 脫脂奶粉 | TFND | 食品營養成分資料集 | L0207101 | 脫脂奶粉 | exact |  | sugars_total | 36.6 | g
nonfat_milk_powder | 脫脂奶粉 | TFND | 食品營養成分資料集 | L0207101 | 脫脂奶粉 | exact |  | sodium | 338 | mg | 1
soy_sauce | 醬油 | USDA | SR Legacy | 174277 | Soy sauce made from soy and wheat (shoyu) | exact | 6.25 | water | 71.15 | g | 6 |  | 71.05 | 71.26 |  | A: Analytical
soy_sauce | 醬油 | USDA | SR Legacy | 174277 | Soy sauce made from soy and wheat (shoyu) | exact | 6.25 | protein | 8.14 | g | 6 |  | 8.05 | 8.22 |  | A: Analytical
soy_sauce | 醬油 | USDA | SR Legacy | 174277 | Soy sauce made from soy and wheat (shoyu) | exact | 6.25 | fat | 0.57 | g | 6 |  | 0.44 | 0.69 |  | A: Analytical
soy_sauce | 醬油 | USDA | SR Legacy | 174277 | Soy sauce made from soy and wheat (shoyu) | exact | 6.25 | ash | 15.21 | g | 6 |  | 15.17 | 15.28 |  | A: Analytical
soy_sauce | 醬油 | USDA | SR Legacy | 174277 | Soy sauce made from soy and wheat (shoyu) | exact | 6.25 | carbohydrate | 4.93 | g | 0 |  |  |  |  | NC: Calculated
soy_sauce | 醬油 | USDA | SR Legacy | 174277 | Soy sauce made from soy and wheat (shoyu) | exact | 6.25 | sugars_total | 0.4 | g | 0
soy_sauce | 醬油 | USDA | SR Legacy | 174277 | Soy sauce made from soy and wheat (shoyu) | exact | 6.25 | sodium | 5493 | mg | 6 |  | 5390 | 5660 |  | A: Analytical
soy_sauce | 醬油 | TFND | 食品營養成分資料集 | P0700101 | 醬油 | exact |  | water | 67 | g | 2 | 2.6
soy_sauce | 醬油 | TFND | 食品營養成分資料集 | P0700101 | 醬油 | exact |  | protein | 7.8 | g | 2 | 0
soy_sauce | 醬油 | TFND | 食品營養成分資料集 | P0700101 | 醬油 | exact |  | ash | 10.4 | g | 2 | 2.9
soy_sauce | 醬油 | TFND | 食品營養成分資料集 | P0700101 | 醬油 | exact |  | carbohydrate | 14.7 | g
soy_sauce | 醬油 | TFND | 食品營養成分資料集 | P0700101 | 醬油 | exact |  | sodium | 4997 | mg | 2 | 123
soy_sauce_low_sodium | 薄鹽醬油（低鈉） | USDA | SR Legacy | 172473 | Soy sauce made from soy and wheat (shoyu), low sodium | exact | 6.25 | water | 75.14 | g | 6 |  | 74.96 | 75.33 |  | A: Analytical
soy_sauce_low_sodium | 薄鹽醬油（低鈉） | USDA | SR Legacy | 172473 | Soy sauce made from soy and wheat (shoyu), low sodium | exact | 6.25 | protein | 9.05 | g | 6 |  | 8.56 | 9.44 |  | A: Analytical
soy_sauce_low_sodium | 薄鹽醬油（低鈉） | USDA | SR Legacy | 172473 | Soy sauce made from soy and wheat (shoyu), low sodium | exact | 6.25 | fat | 0.3 | g | 6 |  | 0.2 | 0.36 |  | A: Analytical
soy_sauce_low_sodium | 薄鹽醬油（低鈉） | USDA | SR Legacy | 172473 | Soy sauce made from soy and wheat (shoyu), low sodium | exact | 6.25 | ash | 9.92 | g | 6 |  | 9.86 | 9.96 |  | A: Analytical
soy_sauce_low_sodium | 薄鹽醬油（低鈉） | USDA | SR Legacy | 172473 | Soy sauce made from soy and wheat (shoyu), low sodium | exact | 6.25 | carbohydrate | 5.59 | g | 0 |  |  |  |  | NC: Calculated
soy_sauce_low_sodium | 薄鹽醬油（低鈉） | USDA | SR Legacy | 172473 | Soy sauce made from soy and wheat (shoyu), low sodium | exact | 6.25 | sugars_total | 0.5 | g | 3 |  | 0.5 | 0.5 |  | A: Analytical
soy_sauce_low_sodium | 薄鹽醬油（低鈉） | USDA | SR Legacy | 172473 | Soy sauce made from soy and wheat (shoyu), low sodium | exact | 6.25 | sodium | 3598 | mg | 6 |  | 3570 | 3630 |  | A: Analytical
soy_sauce_low_sodium | 薄鹽醬油（低鈉） | TFND | 食品營養成分資料集 | P0700501 | 薄鹽醬油(低鈉) | exact |  | water | 71.4 | g | 1
soy_sauce_low_sodium | 薄鹽醬油（低鈉） | TFND | 食品營養成分資料集 | P0700501 | 薄鹽醬油(低鈉) | exact |  | protein | 7.4 | g | 1
soy_sauce_low_sodium | 薄鹽醬油（低鈉） | TFND | 食品營養成分資料集 | P0700501 | 薄鹽醬油(低鈉) | exact |  | ash | 9.2 | g | 1
soy_sauce_low_sodium | 薄鹽醬油（低鈉） | TFND | 食品營養成分資料集 | P0700501 | 薄鹽醬油(低鈉) | exact |  | carbohydrate | 11.9 | g
soy_sauce_low_sodium | 薄鹽醬油（低鈉） | TFND | 食品營養成分資料集 | P0700501 | 薄鹽醬油(低鈉) | exact |  | sodium | 3508 | mg | 1
potato_chips | 洋芋片（原味） | USDA | SR Legacy | 169677 | Snacks, potato chips, plain, salted | exact | 6.25 | water | 1.86 | g | 17 |  | 1.24 | 2.44 |  | A: Analytical
potato_chips | 洋芋片（原味） | USDA | SR Legacy | 169677 | Snacks, potato chips, plain, salted | exact | 6.25 | protein | 6.39 | g | 17 |  | 5.44 | 7.19 |  | A: Analytical
potato_chips | 洋芋片（原味） | USDA | SR Legacy | 169677 | Snacks, potato chips, plain, salted | exact | 6.25 | fat | 33.98 | g | 17 |  | 30.74 | 38.39 |  | A: Analytical
potato_chips | 洋芋片（原味） | USDA | SR Legacy | 169677 | Snacks, potato chips, plain, salted | exact | 6.25 | ash | 3.94 | g | 17 |  | 3.13 | 4.23 |  | A: Analytical
potato_chips | 洋芋片（原味） | USDA | SR Legacy | 169677 | Snacks, potato chips, plain, salted | exact | 6.25 | carbohydrate | 53.83 | g | 0 |  |  |  |  | NC: Calculated
potato_chips | 洋芋片（原味） | USDA | SR Legacy | 169677 | Snacks, potato chips, plain, salted | exact | 6.25 | sugars_total | 0.33 | g | 9 |  | 0.3 | 0.4 |  | A: Analytical
potato_chips | 洋芋片（原味） | USDA | SR Legacy | 169677 | Snacks, potato chips, plain, salted | exact | 6.25 | sodium | 527 | mg | 17 |  | 235 | 633 |  | A: Analytical
potato_chips | 洋芋片（原味） | TFND | 食品營養成分資料集 | Q4200201 | 洋芋片 | closest |  | water | 1.9 | g | 1
potato_chips | 洋芋片（原味） | TFND | 食品營養成分資料集 | Q4200201 | 洋芋片 | closest |  | protein | 5.2 | g | 1
potato_chips | 洋芋片（原味） | TFND | 食品營養成分資料集 | Q4200201 | 洋芋片 | closest |  | fat | 34.3 | g | 2 | 6
potato_chips | 洋芋片（原味） | TFND | 食品營養成分資料集 | Q4200201 | 洋芋片 | closest |  | ash | 2.8 | g | 1
potato_chips | 洋芋片（原味） | TFND | 食品營養成分資料集 | Q4200201 | 洋芋片 | closest |  | carbohydrate | 55.8 | g
potato_chips | 洋芋片（原味） | TFND | 食品營養成分資料集 | Q4200201 | 洋芋片 | closest |  | sugars_total | 1.9 | g
potato_chips | 洋芋片（原味） | TFND | 食品營養成分資料集 | Q4200201 | 洋芋片 | closest |  | sodium | 383 | mg | 1
soup_powder_dry | 湯粉/高湯粉（乾粉） | USDA | SR Legacy | 171562 | Soup, chicken broth or bouillon, dry | closest | 6.25 | water | 2.27 | g | 4
soup_powder_dry | 湯粉/高湯粉（乾粉） | USDA | SR Legacy | 171562 | Soup, chicken broth or bouillon, dry | closest | 6.25 | protein | 16.66 | g | 4
soup_powder_dry | 湯粉/高湯粉（乾粉） | USDA | SR Legacy | 171562 | Soup, chicken broth or bouillon, dry | closest | 6.25 | fat | 13.88 | g | 4
soup_powder_dry | 湯粉/高湯粉（乾粉） | USDA | SR Legacy | 171562 | Soup, chicken broth or bouillon, dry | closest | 6.25 | ash | 49.18 | g | 4
soup_powder_dry | 湯粉/高湯粉（乾粉） | USDA | SR Legacy | 171562 | Soup, chicken broth or bouillon, dry | closest | 6.25 | carbohydrate | 18.01 | g | 0 |  |  |  |  | NC: Calculated
soup_powder_dry | 湯粉/高湯粉（乾粉） | USDA | SR Legacy | 171562 | Soup, chicken broth or bouillon, dry | closest | 6.25 | sugars_total | 17.36 | g | 0 |  |  |  |  | FLA: Estimated formulation based on ingredient list; Linear program used to estimate ingredients; Analytical data
soup_powder_dry | 湯粉/高湯粉（乾粉） | USDA | SR Legacy | 171562 | Soup, chicken broth or bouillon, dry | closest | 6.25 | sodium | 23875 | mg | 4 |  |  |  |  | LC: Label claim (back calculated from label by NDL staff; Calculated from label claim/serving (g or %RDI)
soup_powder_dry | 湯粉/高湯粉（乾粉） | USDA | SR Legacy | 171560 | Soup, beef broth or bouillon, powder, dry | closest | 6.25 | water | 3.27 | g | 3
soup_powder_dry | 湯粉/高湯粉（乾粉） | USDA | SR Legacy | 171560 | Soup, beef broth or bouillon, powder, dry | closest | 6.25 | protein | 15.97 | g | 3
soup_powder_dry | 湯粉/高湯粉（乾粉） | USDA | SR Legacy | 171560 | Soup, beef broth or bouillon, powder, dry | closest | 6.25 | fat | 8.89 | g | 3
soup_powder_dry | 湯粉/高湯粉（乾粉） | USDA | SR Legacy | 171560 | Soup, beef broth or bouillon, powder, dry | closest | 6.25 | ash | 54.5 | g | 0 |  |  |  |  | NR: Nutrient that is based on other nutrient/s; value used directly, ex. Nut.#204 from Nut.#298
soup_powder_dry | 湯粉/高湯粉（乾粉） | USDA | SR Legacy | 171560 | Soup, beef broth or bouillon, powder, dry | closest | 6.25 | carbohydrate | 17.4 | g | 0 |  |  |  |  | NR: Nutrient that is based on other nutrient/s; value used directly, ex. Nut.#204 from Nut.#298
soup_powder_dry | 湯粉/高湯粉（乾粉） | USDA | SR Legacy | 171560 | Soup, beef broth or bouillon, powder, dry | closest | 6.25 | sugars_total | 16.71 | g | 0 |  |  |  |  | FLA: Estimated formulation based on ingredient list; Linear program used to estimate ingredients; Analytical data
soup_powder_dry | 湯粉/高湯粉（乾粉） | USDA | SR Legacy | 171560 | Soup, beef broth or bouillon, powder, dry | closest | 6.25 | sodium | 26000 | mg | 1 |  |  |  |  | LC: Label claim (back calculated from label by NDL staff; Calculated from label claim/serving (g or %RDI)
soup_powder_dry | 湯粉/高湯粉（乾粉） | TFND | 食品營養成分資料集 | P0500201 | 高湯塊(雞肉) | closest |  | water | 2.1 | g | 1
soup_powder_dry | 湯粉/高湯粉（乾粉） | TFND | 食品營養成分資料集 | P0500201 | 高湯塊(雞肉) | closest |  | protein | 14.7 | g | 1
soup_powder_dry | 湯粉/高湯粉（乾粉） | TFND | 食品營養成分資料集 | P0500201 | 高湯塊(雞肉) | closest |  | fat | 24.8 | g | 1
soup_powder_dry | 湯粉/高湯粉（乾粉） | TFND | 食品營養成分資料集 | P0500201 | 高湯塊(雞肉) | closest |  | ash | 43.9 | g | 1
soup_powder_dry | 湯粉/高湯粉（乾粉） | TFND | 食品營養成分資料集 | P0500201 | 高湯塊(雞肉) | closest |  | carbohydrate | 14.5 | g
soup_powder_dry | 湯粉/高湯粉（乾粉） | TFND | 食品營養成分資料集 | P0500201 | 高湯塊(雞肉) | closest |  | sodium | 16862 | mg | 1
soup_powder_dry | 湯粉/高湯粉（乾粉） | TFND | 食品營養成分資料集 | R8100101 | 沖泡濃湯(海鮮) | closest |  | water | 3.4 | g | 1
soup_powder_dry | 湯粉/高湯粉（乾粉） | TFND | 食品營養成分資料集 | R8100101 | 沖泡濃湯(海鮮) | closest |  | protein | 11.2 | g | 1
soup_powder_dry | 湯粉/高湯粉（乾粉） | TFND | 食品營養成分資料集 | R8100101 | 沖泡濃湯(海鮮) | closest |  | fat | 6.9 | g | 2 | 3.3
soup_powder_dry | 湯粉/高湯粉（乾粉） | TFND | 食品營養成分資料集 | R8100101 | 沖泡濃湯(海鮮) | closest |  | ash | 16.5 | g | 1
soup_powder_dry | 湯粉/高湯粉（乾粉） | TFND | 食品營養成分資料集 | R8100101 | 沖泡濃湯(海鮮) | closest |  | carbohydrate | 62 | g
soup_powder_dry | 湯粉/高湯粉（乾粉） | TFND | 食品營養成分資料集 | R8100101 | 沖泡濃湯(海鮮) | closest |  | sugars_total | 11.6 | g
soup_powder_dry | 湯粉/高湯粉（乾粉） | TFND | 食品營養成分資料集 | R8100101 | 沖泡濃湯(海鮮) | closest |  | sodium | 6118 | mg | 1
soup_prepared | 沖泡後的湯（依標示沖泡） | USDA | SR Legacy | 172924 | Soup, chicken broth or bouillon, dry, prepared with water | closest | 6.25 | water | 98.28 | g | 0 |  |  |  |  | RPI: Recipe;Per package directions;No adjustments applied, combination of source codes which incl codes other than 1,12,or 6
soup_prepared | 沖泡後的湯（依標示沖泡） | USDA | SR Legacy | 172924 | Soup, chicken broth or bouillon, dry, prepared with water | closest | 6.25 | protein | 0.28 | g | 0 |  |  |  |  | RPI: Recipe;Per package directions;No adjustments applied, combination of source codes which incl codes other than 1,12,or 6
soup_prepared | 沖泡後的湯（依標示沖泡） | USDA | SR Legacy | 172924 | Soup, chicken broth or bouillon, dry, prepared with water | closest | 6.25 | fat | 0.23 | g | 0 |  |  |  |  | RPI: Recipe;Per package directions;No adjustments applied, combination of source codes which incl codes other than 1,12,or 6
soup_prepared | 沖泡後的湯（依標示沖泡） | USDA | SR Legacy | 172924 | Soup, chicken broth or bouillon, dry, prepared with water | closest | 6.25 | ash | 0.92 | g | 0 |  |  |  |  | RPI: Recipe;Per package directions;No adjustments applied, combination of source codes which incl codes other than 1,12,or 6
soup_prepared | 沖泡後的湯（依標示沖泡） | USDA | SR Legacy | 172924 | Soup, chicken broth or bouillon, dry, prepared with water | closest | 6.25 | carbohydrate | 0.3 | g | 0 |  |  |  |  | RPI: Recipe;Per package directions;No adjustments applied, combination of source codes which incl codes other than 1,12,or 6
soup_prepared | 沖泡後的湯（依標示沖泡） | USDA | SR Legacy | 172924 | Soup, chicken broth or bouillon, dry, prepared with water | closest | 6.25 | sugars_total | 0.29 | g | 0 |  |  |  |  | RPI: Recipe;Per package directions;No adjustments applied, combination of source codes which incl codes other than 1,12,or 6
soup_prepared | 沖泡後的湯（依標示沖泡） | USDA | SR Legacy | 172924 | Soup, chicken broth or bouillon, dry, prepared with water | closest | 6.25 | sodium | 401 | mg | 0 |  |  |  |  | NR: Nutrient that is based on other nutrient/s; value used directly, ex. Nut.#204 from Nut.#298
sports_drink | 運動飲料 | USDA | SR Legacy | 173660 | Beverages, PEPSICO QUAKER, Gatorade, G performance O 2, ready-to-drink. | closest | 6.25 | water | 93.38 | g | 1 |  |  |  |  | A: Analytical
sports_drink | 運動飲料 | USDA | SR Legacy | 173660 | Beverages, PEPSICO QUAKER, Gatorade, G performance O 2, ready-to-drink. | closest | 6.25 | protein | 0 | g | 1 |  |  |  |  | LC: Label claim (back calculated from label by NDL staff; Calculated from label claim/serving (g or %RDI)
sports_drink | 運動飲料 | USDA | SR Legacy | 173660 | Beverages, PEPSICO QUAKER, Gatorade, G performance O 2, ready-to-drink. | closest | 6.25 | fat | 0 | g | 0 |  |  |  |  | Z: Assumed zero (Insignificant amount or not naturally occurring in a food, such as fiber in meat)
sports_drink | 運動飲料 | USDA | SR Legacy | 173660 | Beverages, PEPSICO QUAKER, Gatorade, G performance O 2, ready-to-drink. | closest | 6.25 | ash | 0.14 | g | 2 |  | 0.07 | 0.2 |  | A: Analytical
sports_drink | 運動飲料 | USDA | SR Legacy | 173660 | Beverages, PEPSICO QUAKER, Gatorade, G performance O 2, ready-to-drink. | closest | 6.25 | carbohydrate | 6.43 | g | 0 |  |  |  |  | NC: Calculated
sports_drink | 運動飲料 | USDA | SR Legacy | 173660 | Beverages, PEPSICO QUAKER, Gatorade, G performance O 2, ready-to-drink. | closest | 6.25 | sugars_total | 5.24 | g | 0 |  |  |  |  | NC: Calculated
sports_drink | 運動飲料 | USDA | SR Legacy | 173660 | Beverages, PEPSICO QUAKER, Gatorade, G performance O 2, ready-to-drink. | closest | 6.25 | sodium | 39 | mg | 2 |  | 39 | 39 |  | A: Analytical
sports_drink | 運動飲料 | USDA | SR Legacy | 175108 | Beverages, COCA-COLA, POWERADE, lemon-lime flavored, ready-to-drink | closest | 6.25 | water | 91.91 | g | 1 |  |  |  |  | A: Analytical
sports_drink | 運動飲料 | USDA | SR Legacy | 175108 | Beverages, COCA-COLA, POWERADE, lemon-lime flavored, ready-to-drink | closest | 6.25 | protein | 0 | g | 3 |  | 0 | 0 |  | LC: Label claim (back calculated from label by NDL staff; Calculated from label claim/serving (g or %RDI)
sports_drink | 運動飲料 | USDA | SR Legacy | 175108 | Beverages, COCA-COLA, POWERADE, lemon-lime flavored, ready-to-drink | closest | 6.25 | fat | 0.05 | g | 0 |  |  |  |  | FLA: Estimated formulation based on ingredient list; Linear program used to estimate ingredients; Analytical data
sports_drink | 運動飲料 | USDA | SR Legacy | 175108 | Beverages, COCA-COLA, POWERADE, lemon-lime flavored, ready-to-drink | closest | 6.25 | ash | 0.2 | g | 1 |  |  |  |  | A: Analytical
sports_drink | 運動飲料 | USDA | SR Legacy | 175108 | Beverages, COCA-COLA, POWERADE, lemon-lime flavored, ready-to-drink | closest | 6.25 | carbohydrate | 7.84 | g | 0 |  |  |  |  | NC: Calculated
sports_drink | 運動飲料 | USDA | SR Legacy | 175108 | Beverages, COCA-COLA, POWERADE, lemon-lime flavored, ready-to-drink | closest | 6.25 | sugars_total | 6.11 | g | 3 |  | 6.02 | 6.16 |  | LC: Label claim (back calculated from label by NDL staff; Calculated from label claim/serving (g or %RDI)
sports_drink | 運動飲料 | USDA | SR Legacy | 175108 | Beverages, COCA-COLA, POWERADE, lemon-lime flavored, ready-to-drink | closest | 6.25 | sodium | 42 | mg | 0 |  |  |  |  | NR: Nutrient that is based on other nutrient/s; value used directly, ex. Nut.#204 from Nut.#298
sports_drink | 運動飲料 | TFND | 食品營養成分資料集 | O0703301 | 運動飲料 | exact |  | water | 92.7 | g | 1
sports_drink | 運動飲料 | TFND | 食品營養成分資料集 | O0703301 | 運動飲料 | exact |  | protein | 0.1 | g | 1
sports_drink | 運動飲料 | TFND | 食品營養成分資料集 | O0703301 | 運動飲料 | exact |  | ash | 0.2 | g | 1
sports_drink | 運動飲料 | TFND | 食品營養成分資料集 | O0703301 | 運動飲料 | exact |  | carbohydrate | 7 | g
sports_drink | 運動飲料 | TFND | 食品營養成分資料集 | O0703301 | 運動飲料 | exact |  | sodium | 41 | mg | 1
brown_sugar | 黑糖 | USDA | SR Legacy | 168833 | Sugars, brown | closest | 6.25 | water | 1.34 | g | 15 |  | 1.1 | 2.13 |  | A: Analytical
brown_sugar | 黑糖 | USDA | SR Legacy | 168833 | Sugars, brown | closest | 6.25 | protein | 0.12 | g | 15 |  | 0.09 | 0.25 |  | A: Analytical
brown_sugar | 黑糖 | USDA | SR Legacy | 168833 | Sugars, brown | closest | 6.25 | fat | 0 | g | 3 |  | 0 | 0 |  | A: Analytical
brown_sugar | 黑糖 | USDA | SR Legacy | 168833 | Sugars, brown | closest | 6.25 | ash | 0.45 | g | 15 |  | 0.04 | 0.87 |  | A: Analytical
brown_sugar | 黑糖 | USDA | SR Legacy | 168833 | Sugars, brown | closest | 6.25 | carbohydrate | 98.09 | g | 0 |  |  |  |  | NC: Calculated
brown_sugar | 黑糖 | USDA | SR Legacy | 168833 | Sugars, brown | closest | 6.25 | sugars_total | 97.02 | g | 15 |  | 92.42 | 99.85 |  | A: Analytical
brown_sugar | 黑糖 | USDA | SR Legacy | 168833 | Sugars, brown | closest | 6.25 | sodium | 28 | mg | 15 |  | 3 | 63 |  | A: Analytical
brown_sugar | 黑糖 | TFND | 食品營養成分資料集 | N0100401 | 黑砂糖 | closest |  | water | 2.4 | g | 1
brown_sugar | 黑糖 | TFND | 食品營養成分資料集 | N0100401 | 黑砂糖 | closest |  | protein | 0.5 | g | 1
brown_sugar | 黑糖 | TFND | 食品營養成分資料集 | N0100401 | 黑砂糖 | closest |  | fat | 0.7 | g | 1
brown_sugar | 黑糖 | TFND | 食品營養成分資料集 | N0100401 | 黑砂糖 | closest |  | ash | 1.1 | g | 1
brown_sugar | 黑糖 | TFND | 食品營養成分資料集 | N0100401 | 黑砂糖 | closest |  | carbohydrate | 95.3 | g
brown_sugar | 黑糖 | TFND | 食品營養成分資料集 | N0100401 | 黑砂糖 | closest |  | sugars_total | 86.1 | g
brown_sugar | 黑糖 | TFND | 食品營養成分資料集 | N0100401 | 黑砂糖 | closest |  | sodium | 10 | mg | 1
white_sugar | 白砂糖 | USDA | SR Legacy | 169655 | Sugars, granulated | exact | 6.25 | water | 0.02 | g | 8 |  | 0.01 | 0.06 |  | A: Analytical
white_sugar | 白砂糖 | USDA | SR Legacy | 169655 | Sugars, granulated | exact | 6.25 | protein | 0 | g | 8 |  | 0 | 0 |  | A: Analytical
white_sugar | 白砂糖 | USDA | SR Legacy | 169655 | Sugars, granulated | exact | 6.25 | fat | 0 | g | 1 |  |  |  |  | A: Analytical
white_sugar | 白砂糖 | USDA | SR Legacy | 169655 | Sugars, granulated | exact | 6.25 | ash | 0.01 | g | 0 |  |  |  |  | NR: Nutrient that is based on other nutrient/s; value used directly, ex. Nut.#204 from Nut.#298
white_sugar | 白砂糖 | USDA | SR Legacy | 169655 | Sugars, granulated | exact | 6.25 | carbohydrate | 99.98 | g | 0 |  |  |  |  | NC: Calculated
white_sugar | 白砂糖 | USDA | SR Legacy | 169655 | Sugars, granulated | exact | 6.25 | sugars_total | 99.8 | g | 7 |  | 99.17 | 100 |  | A: Analytical
white_sugar | 白砂糖 | USDA | SR Legacy | 169655 | Sugars, granulated | exact | 6.25 | sodium | 1 | mg | 8 |  | 1 | 1 |  | A: Analytical
white_sugar | 白砂糖 | USDA | Foundation | 746784 | Sugars, granulated | exact | 6.25 | water | 0.02 | g | 8 |  | 0.01 | 0.06 | 0.01 | A: Analytical
white_sugar | 白砂糖 | USDA | Foundation | 746784 | Sugars, granulated | exact | 6.25 | protein | 0 | g |  |  | 0 | 0 | 0 | NC: Calculated
white_sugar | 白砂糖 | USDA | Foundation | 746784 | Sugars, granulated | exact | 6.25 | fat | 0.32 | g | 8 |  | 0.11 | 0.55 | 0.32 | A: Analytical
white_sugar | 白砂糖 | USDA | Foundation | 746784 | Sugars, granulated | exact | 6.25 | ash | 0.07 | g | 8 |  | 0.03 | 0.13 | 0.05 | A: Analytical
white_sugar | 白砂糖 | USDA | Foundation | 746784 | Sugars, granulated | exact | 6.25 | carbohydrate | 99.6 | g | [5 empty] | NC: Calculated
white_sugar | 白砂糖 | USDA | Foundation | 746784 | Sugars, granulated | exact | 6.25 | sugars_total | 99.8 | g | [5 empty] | AS: Summed
white_sugar | 白砂糖 | USDA | Foundation | 746784 | Sugars, granulated | exact | 6.25 | sodium | 1 | mg | 8 |  | 1 | 1 | 1 | A: Analytical
white_sugar | 白砂糖 | TFND | 食品營養成分資料集 | N0100101 | 方糖 | closest |  | water | 0.4 | g | 1
white_sugar | 白砂糖 | TFND | 食品營養成分資料集 | N0100101 | 方糖 | closest |  | ash | 0 | g | 1
white_sugar | 白砂糖 | TFND | 食品營養成分資料集 | N0100101 | 方糖 | closest |  | carbohydrate | 99.6 | g
white_sugar | 白砂糖 | TFND | 食品營養成分資料集 | N0100101 | 方糖 | closest |  | sodium | 2 | mg | 1
brown_rice | 糙米（生） | USDA | SR Legacy | 169703 | Rice, brown, long-grain, raw (Includes foods for USDA's Food Distribution Program) | closest | 5.95 | water | 11.8 | g | 6 |  | 11.1 | 12.3 |  | A: Analytical
brown_rice | 糙米（生） | USDA | SR Legacy | 169703 | Rice, brown, long-grain, raw (Includes foods for USDA's Food Distribution Program) | closest | 5.95 | protein | 7.54 | g | 6 |  | 7.21 | 8.01 |  | A: Analytical
brown_rice | 糙米（生） | USDA | SR Legacy | 169703 | Rice, brown, long-grain, raw (Includes foods for USDA's Food Distribution Program) | closest | 5.95 | fat | 3.2 | g | 6 |  | 3 | 3.5 |  | A: Analytical
brown_rice | 糙米（生） | USDA | SR Legacy | 169703 | Rice, brown, long-grain, raw (Includes foods for USDA's Food Distribution Program) | closest | 5.95 | ash | 1.21 | g | 6 |  | 1.13 | 1.32 |  | A: Analytical
brown_rice | 糙米（生） | USDA | SR Legacy | 169703 | Rice, brown, long-grain, raw (Includes foods for USDA's Food Distribution Program) | closest | 5.95 | carbohydrate | 76.25 | g | 0 |  |  |  |  | NC: Calculated
brown_rice | 糙米（生） | USDA | SR Legacy | 169703 | Rice, brown, long-grain, raw (Includes foods for USDA's Food Distribution Program) | closest | 5.95 | sugars_total | 0.66 | g | 3 |  | 0.6 | 0.7 |  | A: Analytical
brown_rice | 糙米（生） | USDA | SR Legacy | 169703 | Rice, brown, long-grain, raw (Includes foods for USDA's Food Distribution Program) | closest | 5.95 | sodium | 5 | mg | 6 |  | 5 | 5 |  | A: Analytical
brown_rice | 糙米（生） | USDA | Foundation | 2512380 | Rice, brown, long grain, unenriched, raw | closest | 5.95 | water | 11.47 | g | 8 |  | 10.79 | 11.83 | 11.54 | A: Analytical
brown_rice | 糙米（生） | USDA | Foundation | 2512380 | Rice, brown, long grain, unenriched, raw | closest | 5.95 | protein | 7.253 | g |  |  | 6.6045 | 7.9135 | 7.1697 | NC: Calculated
brown_rice | 糙米（生） | USDA | Foundation | 2512380 | Rice, brown, long grain, unenriched, raw | closest | 5.95 | fat | 3.306 | g | 8 |  | 2.57 | 3.73 | 3.48 | A: Analytical
brown_rice | 糙米（生） | USDA | Foundation | 2512380 | Rice, brown, long grain, unenriched, raw | closest | 5.95 | ash | 1.283 | g | 8 |  | 1.2 | 1.46 | 1.255 | A: Analytical
brown_rice | 糙米（生） | USDA | Foundation | 2512380 | Rice, brown, long grain, unenriched, raw | closest | 5.95 | carbohydrate | 76.688 | g | [5 empty] | NC: Calculated
brown_rice | 糙米（生） | USDA | Foundation | 2512380 | Rice, brown, long grain, unenriched, raw | closest | 5.95 | sodium | 0 | mg | 8 |  | 0 | 0 | 0 | A: Analytical
brown_rice | 糙米（生） | TFND | 食品營養成分資料集 | A05013 | 糙稉米平均值 | exact |  | water | 12.5 | g | 1
brown_rice | 糙米（生） | TFND | 食品營養成分資料集 | A05013 | 糙稉米平均值 | exact |  | protein | 7.4 | g | 1
brown_rice | 糙米（生） | TFND | 食品營養成分資料集 | A05013 | 糙稉米平均值 | exact |  | fat | 2.3 | g | 1
brown_rice | 糙米（生） | TFND | 食品營養成分資料集 | A05013 | 糙稉米平均值 | exact |  | ash | 1.1 | g | 1
brown_rice | 糙米（生） | TFND | 食品營養成分資料集 | A05013 | 糙稉米平均值 | exact |  | carbohydrate | 76.6 | g
brown_rice | 糙米（生） | TFND | 食品營養成分資料集 | A05013 | 糙稉米平均值 | exact |  | sugars_total | 0.5 | g
brown_rice | 糙米（生） | TFND | 食品營養成分資料集 | A05013 | 糙稉米平均值 | exact |  | sodium | 3 | mg | 1
white_rice | 白米（生） | USDA | SR Legacy | 169756 | Rice, white, long-grain, regular, raw, unenriched | closest | 5.95 | water | 11.62 | g | 58
white_rice | 白米（生） | USDA | SR Legacy | 169756 | Rice, white, long-grain, regular, raw, unenriched | closest | 5.95 | protein | 7.13 | g | 70
white_rice | 白米（生） | USDA | SR Legacy | 169756 | Rice, white, long-grain, regular, raw, unenriched | closest | 5.95 | fat | 0.66 | g | 23
white_rice | 白米（生） | USDA | SR Legacy | 169756 | Rice, white, long-grain, regular, raw, unenriched | closest | 5.95 | ash | 0.64 | g | 60
white_rice | 白米（生） | USDA | SR Legacy | 169756 | Rice, white, long-grain, regular, raw, unenriched | closest | 5.95 | carbohydrate | 79.95 | g | 0 |  |  |  |  | NC: Calculated
white_rice | 白米（生） | USDA | SR Legacy | 169756 | Rice, white, long-grain, regular, raw, unenriched | closest | 5.95 | sugars_total | 0.12 | g | 0 |  |  |  |  | BFZN: Based on another form of the food or similar food; Concentration adjustment; No adjustment; Retention factors not used
white_rice | 白米（生） | USDA | SR Legacy | 169756 | Rice, white, long-grain, regular, raw, unenriched | closest | 5.95 | sodium | 5 | mg | 10
white_rice | 白米（生） | USDA | Foundation | 2512381 | Rice, white, long grain, unenriched, raw | closest | 5.95 | water | 11.19 | g | 8 |  | 10.28 | 12.16 | 11.33 | A: Analytical
white_rice | 白米（生） | USDA | Foundation | 2512381 | Rice, white, long grain, unenriched, raw | closest | 5.95 | protein | 7.0389 | g |  |  | 5.8905 | 8.33 | 6.7533 | NC: Calculated
white_rice | 白米（生） | USDA | Foundation | 2512381 | Rice, white, long grain, unenriched, raw | closest | 5.95 | fat | 1.033 | g | 8 |  | 0.72 | 1.45 | 1.033 | A: Analytical
white_rice | 白米（生） | USDA | Foundation | 2512381 | Rice, white, long grain, unenriched, raw | closest | 5.95 | ash | 0.425 | g | 8 |  | 0.2 | 0.61 | 0.385 | A: Analytical
white_rice | 白米（生） | USDA | Foundation | 2512381 | Rice, white, long grain, unenriched, raw | closest | 5.95 | carbohydrate | 80.3131 | g | [5 empty] | NC: Calculated
white_rice | 白米（生） | USDA | Foundation | 2512381 | Rice, white, long grain, unenriched, raw | closest | 5.95 | sodium | 0.4625 | mg | 8 |  | 0 | 3.7 | 0 | A: Analytical
white_rice | 白米（生） | TFND | 食品營養成分資料集 | A05002 | 稉米平均值 | exact |  | water | 14.1 | g | 10 | 1.6
white_rice | 白米（生） | TFND | 食品營養成分資料集 | A05002 | 稉米平均值 | exact |  | protein | 7 | g | 10 | 0.5
white_rice | 白米（生） | TFND | 食品營養成分資料集 | A05002 | 稉米平均值 | exact |  | fat | 0.7 | g | 10 | 0.3
white_rice | 白米（生） | TFND | 食品營養成分資料集 | A05002 | 稉米平均值 | exact |  | ash | 0.4 | g | 10 | 0.1
white_rice | 白米（生） | TFND | 食品營養成分資料集 | A05002 | 稉米平均值 | exact |  | carbohydrate | 77.8 | g
white_rice | 白米（生） | TFND | 食品營養成分資料集 | A05002 | 稉米平均值 | exact |  | sugars_total | 0.1 | g
white_rice | 白米（生） | TFND | 食品營養成分資料集 | A05002 | 稉米平均值 | exact |  | sodium | 2 | mg | 10 | 1
bread_flour | 高筋麵粉 | USDA | SR Legacy | 168896 | Wheat flour, white, bread, enriched | closest | 5.7 | water | 13.36 | g | 67
bread_flour | 高筋麵粉 | USDA | SR Legacy | 168896 | Wheat flour, white, bread, enriched | closest | 5.7 | protein | 11.98 | g | 65
bread_flour | 高筋麵粉 | USDA | SR Legacy | 168896 | Wheat flour, white, bread, enriched | closest | 5.7 | fat | 1.66 | g | 9
bread_flour | 高筋麵粉 | USDA | SR Legacy | 168896 | Wheat flour, white, bread, enriched | closest | 5.7 | ash | 0.47 | g | 65
bread_flour | 高筋麵粉 | USDA | SR Legacy | 168896 | Wheat flour, white, bread, enriched | closest | 5.7 | carbohydrate | 72.53 | g | 0 |  |  |  |  | NC: Calculated
bread_flour | 高筋麵粉 | USDA | SR Legacy | 168896 | Wheat flour, white, bread, enriched | closest | 5.7 | sugars_total | 0.31 | g | 0 |  |  |  |  | BFZN: Based on another form of the food or similar food; Concentration adjustment; No adjustment; Retention factors not used
bread_flour | 高筋麵粉 | USDA | SR Legacy | 168896 | Wheat flour, white, bread, enriched | closest | 5.7 | sodium | 2 | mg | 74
bread_flour | 高筋麵粉 | TFND | 食品營養成分資料集 | A0320404 | 高筋麵粉 | exact |  | water | 12.3 | g | 2 | 0.5
bread_flour | 高筋麵粉 | TFND | 食品營養成分資料集 | A0320404 | 高筋麵粉 | exact |  | protein | 12.9 | g | 2 | 0.6
bread_flour | 高筋麵粉 | TFND | 食品營養成分資料集 | A0320404 | 高筋麵粉 | exact |  | fat | 1.2 | g | 2 | 0.1
bread_flour | 高筋麵粉 | TFND | 食品營養成分資料集 | A0320404 | 高筋麵粉 | exact |  | ash | 0.6 | g | 2 | 0.1
bread_flour | 高筋麵粉 | TFND | 食品營養成分資料集 | A0320404 | 高筋麵粉 | exact |  | carbohydrate | 73.1 | g
bread_flour | 高筋麵粉 | TFND | 食品營養成分資料集 | A0320404 | 高筋麵粉 | exact |  | sodium | 1 | mg | 2 | 0
all_purpose_flour | 中筋麵粉 | USDA | Foundation | 790018 | Flour, wheat, all-purpose, unenriched, unbleached | closest |  | water | 11.1 | g | 6 |  | 8.19 | 13.5 | 11.1 | A: Analytical
all_purpose_flour | 中筋麵粉 | USDA | Foundation | 790018 | Flour, wheat, all-purpose, unenriched, unbleached | closest |  | protein | 12 | g |  |  | 10.5 | 13.5 | 12.2 | NC: Calculated
all_purpose_flour | 中筋麵粉 | USDA | Foundation | 790018 | Flour, wheat, all-purpose, unenriched, unbleached | closest |  | fat | 1.7 | g | 6 |  | 1.5 | 2.3 | 1.6 | A: Analytical
all_purpose_flour | 中筋麵粉 | USDA | Foundation | 790018 | Flour, wheat, all-purpose, unenriched, unbleached | closest |  | ash | 0.56 | g | 6 |  | 0.43 | 0.77 | 0.56 | A: Analytical
all_purpose_flour | 中筋麵粉 | USDA | Foundation | 790018 | Flour, wheat, all-purpose, unenriched, unbleached | closest |  | carbohydrate | 74.6 | g | [5 empty] | NC: Calculated
all_purpose_flour | 中筋麵粉 | USDA | Foundation | 790018 | Flour, wheat, all-purpose, unenriched, unbleached | closest |  | sodium | 2 | mg | 6 |  | 0 | 3 | 3 | A: Analytical
all_purpose_flour | 中筋麵粉 | TFND | 食品營養成分資料集 | A0320301 | 中筋麵粉 | exact |  | water | 12.6 | g | 2 | 0.8
all_purpose_flour | 中筋麵粉 | TFND | 食品營養成分資料集 | A0320301 | 中筋麵粉 | exact |  | protein | 11.5 | g | 2 | 0.9
all_purpose_flour | 中筋麵粉 | TFND | 食品營養成分資料集 | A0320301 | 中筋麵粉 | exact |  | fat | 1.3 | g | 2 | 0.1
all_purpose_flour | 中筋麵粉 | TFND | 食品營養成分資料集 | A0320301 | 中筋麵粉 | exact |  | ash | 0.5 | g | 2 | 0
all_purpose_flour | 中筋麵粉 | TFND | 食品營養成分資料集 | A0320301 | 中筋麵粉 | exact |  | carbohydrate | 74.1 | g
all_purpose_flour | 中筋麵粉 | TFND | 食品營養成分資料集 | A0320301 | 中筋麵粉 | exact |  | sodium | 4 | mg | 2 | 4
cake_flour | 低筋麵粉 | USDA | SR Legacy | 169723 | Wheat flour, white, cake, enriched | closest | 5.7 | water | 12.51 | g | 25
cake_flour | 低筋麵粉 | USDA | SR Legacy | 169723 | Wheat flour, white, cake, enriched | closest | 5.7 | protein | 8.2 | g | 21
cake_flour | 低筋麵粉 | USDA | SR Legacy | 169723 | Wheat flour, white, cake, enriched | closest | 5.7 | fat | 0.86 | g | 5
cake_flour | 低筋麵粉 | USDA | SR Legacy | 169723 | Wheat flour, white, cake, enriched | closest | 5.7 | ash | 0.39 | g | 35
cake_flour | 低筋麵粉 | USDA | SR Legacy | 169723 | Wheat flour, white, cake, enriched | closest | 5.7 | carbohydrate | 78.03 | g | 0 |  |  |  |  | NC: Calculated
cake_flour | 低筋麵粉 | USDA | SR Legacy | 169723 | Wheat flour, white, cake, enriched | closest | 5.7 | sugars_total | 0.31 | g | 0 |  |  |  |  | BFZN: Based on another form of the food or similar food; Concentration adjustment; No adjustment; Retention factors not used
cake_flour | 低筋麵粉 | USDA | SR Legacy | 169723 | Wheat flour, white, cake, enriched | closest | 5.7 | sodium | 2 | mg | 38
cake_flour | 低筋麵粉 | TFND | 食品營養成分資料集 | A0320202 | 低筋麵粉 | exact |  | water | 12 | g | 2 | 0.6
cake_flour | 低筋麵粉 | TFND | 食品營養成分資料集 | A0320202 | 低筋麵粉 | exact |  | protein | 8.1 | g | 2 | 0.4
cake_flour | 低筋麵粉 | TFND | 食品營養成分資料集 | A0320202 | 低筋麵粉 | exact |  | fat | 1.2 | g | 2 | 0
cake_flour | 低筋麵粉 | TFND | 食品營養成分資料集 | A0320202 | 低筋麵粉 | exact |  | ash | 0.5 | g | 2 | 0
cake_flour | 低筋麵粉 | TFND | 食品營養成分資料集 | A0320202 | 低筋麵粉 | exact |  | carbohydrate | 78.2 | g
cake_flour | 低筋麵粉 | TFND | 食品營養成分資料集 | A0320202 | 低筋麵粉 | exact |  | sodium | 1 | mg | 2 | 1
beef_jerky | 牛肉乾 | USDA | SR Legacy | 167536 | Snacks, beef jerky, chopped and formed | closest | 6.25 | water | 23.36 | g | 1 |  |  |  |  | MA: Manufacturer supplied(industry or trade association), Analytical data, incomplete documentation
beef_jerky | 牛肉乾 | USDA | SR Legacy | 167536 | Snacks, beef jerky, chopped and formed | closest | 6.25 | protein | 33.2 | g | 1 |  |  |  |  | MA: Manufacturer supplied(industry or trade association), Analytical data, incomplete documentation
beef_jerky | 牛肉乾 | USDA | SR Legacy | 167536 | Snacks, beef jerky, chopped and formed | closest | 6.25 | fat | 25.6 | g | 1 |  |  |  |  | MA: Manufacturer supplied(industry or trade association), Analytical data, incomplete documentation
beef_jerky | 牛肉乾 | USDA | SR Legacy | 167536 | Snacks, beef jerky, chopped and formed | closest | 6.25 | ash | 6.8 | g | 1 |  |  |  |  | MA: Manufacturer supplied(industry or trade association), Analytical data, incomplete documentation
beef_jerky | 牛肉乾 | USDA | SR Legacy | 167536 | Snacks, beef jerky, chopped and formed | closest | 6.25 | carbohydrate | 11 | g | 0 |  |  |  |  | MC: Manufacturer supplied; Calculated by manufacturer or unknown if analytical or calculated
beef_jerky | 牛肉乾 | USDA | SR Legacy | 167536 | Snacks, beef jerky, chopped and formed | closest | 6.25 | sugars_total | 9 | g | 0 |  |  |  |  | O: Other procedure used from imputing
beef_jerky | 牛肉乾 | USDA | SR Legacy | 167536 | Snacks, beef jerky, chopped and formed | closest | 6.25 | sodium | 1785 | mg | 0 |  |  |  |  | LC: Label claim (back calculated from label by NDL staff; Calculated from label claim/serving (g or %RDI)
beef_jerky | 牛肉乾 | TFND | 食品營養成分資料集 | R5200101 | 片狀肉乾(牛肉) | closest |  | water | 17.9 | g | 2 | 2.4
beef_jerky | 牛肉乾 | TFND | 食品營養成分資料集 | R5200101 | 片狀肉乾(牛肉) | closest |  | protein | 30.3 | g | 2 | 2.8
beef_jerky | 牛肉乾 | TFND | 食品營養成分資料集 | R5200101 | 片狀肉乾(牛肉) | closest |  | fat | 5.2 | g | 3 | 3.2
beef_jerky | 牛肉乾 | TFND | 食品營養成分資料集 | R5200101 | 片狀肉乾(牛肉) | closest |  | ash | 4.8 | g | 2 | 0.7
beef_jerky | 牛肉乾 | TFND | 食品營養成分資料集 | R5200101 | 片狀肉乾(牛肉) | closest |  | carbohydrate | 41.8 | g
beef_jerky | 牛肉乾 | TFND | 食品營養成分資料集 | R5200101 | 片狀肉乾(牛肉) | closest |  | sugars_total | 18.2 | g
beef_jerky | 牛肉乾 | TFND | 食品營養成分資料集 | R5200101 | 片狀肉乾(牛肉) | closest |  | sodium | 1317 | mg | 2 | 309
dried_longan | 龍眼乾 | USDA | SR Legacy | 169907 | Longans, dried | exact | 6.25 | water | 17.6 | g | 0
dried_longan | 龍眼乾 | USDA | SR Legacy | 169907 | Longans, dried | exact | 6.25 | protein | 4.9 | g | 0
dried_longan | 龍眼乾 | USDA | SR Legacy | 169907 | Longans, dried | exact | 6.25 | fat | 0.4 | g | 0
dried_longan | 龍眼乾 | USDA | SR Legacy | 169907 | Longans, dried | exact | 6.25 | ash | 3.1 | g | 0
dried_longan | 龍眼乾 | USDA | SR Legacy | 169907 | Longans, dried | exact | 6.25 | carbohydrate | 74 | g | 0 |  |  |  |  | NC: Calculated
dried_longan | 龍眼乾 | USDA | SR Legacy | 169907 | Longans, dried | exact | 6.25 | sodium | 48 | mg | 1
dried_longan | 龍眼乾 | TFND | 食品營養成分資料集 | D2310101 | 龍眼乾 | exact |  | water | 18.2 | g | 2 | 1.2
dried_longan | 龍眼乾 | TFND | 食品營養成分資料集 | D2310101 | 龍眼乾 | exact |  | protein | 5.1 | g | 2 | 0.4
dried_longan | 龍眼乾 | TFND | 食品營養成分資料集 | D2310101 | 龍眼乾 | exact |  | fat | 0.5 | g | 3 | 0.7
dried_longan | 龍眼乾 | TFND | 食品營養成分資料集 | D2310101 | 龍眼乾 | exact |  | ash | 5.3 | g | 2 | 1.6
dried_longan | 龍眼乾 | TFND | 食品營養成分資料集 | D2310101 | 龍眼乾 | exact |  | carbohydrate | 70.9 | g
dried_longan | 龍眼乾 | TFND | 食品營養成分資料集 | D2310101 | 龍眼乾 | exact |  | sugars_total | 51.4 | g
dried_longan | 龍眼乾 | TFND | 食品營養成分資料集 | D2310101 | 龍眼乾 | exact |  | sodium | 5 | mg | 2 | 6
orange_juice | 柳橙汁（100%） | USDA | SR Legacy | 169098 | Orange juice, raw (Includes foods for USDA's Food Distribution Program) | closest | 6.25 | water | 88.3 | g | 0
orange_juice | 柳橙汁（100%） | USDA | SR Legacy | 169098 | Orange juice, raw (Includes foods for USDA's Food Distribution Program) | closest | 6.25 | protein | 0.7 | g | 0
orange_juice | 柳橙汁（100%） | USDA | SR Legacy | 169098 | Orange juice, raw (Includes foods for USDA's Food Distribution Program) | closest | 6.25 | fat | 0.2 | g | 0
orange_juice | 柳橙汁（100%） | USDA | SR Legacy | 169098 | Orange juice, raw (Includes foods for USDA's Food Distribution Program) | closest | 6.25 | ash | 0.4 | g | 0
orange_juice | 柳橙汁（100%） | USDA | SR Legacy | 169098 | Orange juice, raw (Includes foods for USDA's Food Distribution Program) | closest | 6.25 | carbohydrate | 10.4 | g | 0 |  |  |  |  | NC: Calculated
orange_juice | 柳橙汁（100%） | USDA | SR Legacy | 169098 | Orange juice, raw (Includes foods for USDA's Food Distribution Program) | closest | 6.25 | sugars_total | 8.4 | g | 0 |  |  |  |  | BFZN: Based on another form of the food or similar food; Concentration adjustment; No adjustment; Retention factors not used
orange_juice | 柳橙汁（100%） | USDA | SR Legacy | 169098 | Orange juice, raw (Includes foods for USDA's Food Distribution Program) | closest | 6.25 | sodium | 1 | mg | 0
orange_juice | 柳橙汁（100%） | USDA | Foundation | 2003597 | Orange juice, no pulp, not fortified, not from concentrate, refrigerated | closest | 6.25 | water | 88.48 | g | 8 |  | 87.9 | 89.41 | 88.21 | A: Analytical
orange_juice | 柳橙汁（100%） | USDA | Foundation | 2003597 | Orange juice, no pulp, not fortified, not from concentrate, refrigerated | closest | 6.25 | protein | 0.8125 | g |  |  | 0.6875 | 0.875 | 0.8438 | NC: Calculated
orange_juice | 柳橙汁（100%） | USDA | Foundation | 2003597 | Orange juice, no pulp, not fortified, not from concentrate, refrigerated | closest | 6.25 | fat | 0.3563 | g | 8 |  | 0.12 | 0.7 | 0.335 | A: Analytical
orange_juice | 柳橙汁（100%） | USDA | Foundation | 2003597 | Orange juice, no pulp, not fortified, not from concentrate, refrigerated | closest | 6.25 | ash | 0.3388 | g | 8 |  | 0.31 | 0.41 | 0.33 | A: Analytical
orange_juice | 柳橙汁（100%） | USDA | Foundation | 2003597 | Orange juice, no pulp, not fortified, not from concentrate, refrigerated | closest | 6.25 | carbohydrate | 10.0124 | g | [5 empty] | NC: Calculated
orange_juice | 柳橙汁（100%） | USDA | Foundation | 2003597 | Orange juice, no pulp, not fortified, not from concentrate, refrigerated | closest | 6.25 | sugars_total | 8.077 | g | [5 empty] | AS: Summed
orange_juice | 柳橙汁（100%） | USDA | Foundation | 2003597 | Orange juice, no pulp, not fortified, not from concentrate, refrigerated | closest | 6.25 | sodium | 0.075 | mg | 8 |  | 0 | 0.6 | 0 | A: Analytical
orange_juice | 柳橙汁（100%） | TFND | 食品營養成分資料集 | O0100401 | 柳橙汁(100%) | exact |  | water | 88.1 | g | 1
orange_juice | 柳橙汁（100%） | TFND | 食品營養成分資料集 | O0100401 | 柳橙汁(100%) | exact |  | protein | 0.6 | g | 1
orange_juice | 柳橙汁（100%） | TFND | 食品營養成分資料集 | O0100401 | 柳橙汁(100%) | exact |  | fat | 0.3 | g | 1
orange_juice | 柳橙汁（100%） | TFND | 食品營養成分資料集 | O0100401 | 柳橙汁(100%) | exact |  | ash | 0.4 | g | 1
orange_juice | 柳橙汁（100%） | TFND | 食品營養成分資料集 | O0100401 | 柳橙汁(100%) | exact |  | carbohydrate | 10.7 | g
orange_juice | 柳橙汁（100%） | TFND | 食品營養成分資料集 | O0100401 | 柳橙汁(100%) | exact |  | sugars_total | 7.9 | g
orange_juice | 柳橙汁（100%） | TFND | 食品營養成分資料集 | O0100401 | 柳橙汁(100%) | exact |  | sodium | 8 | mg | 1

## 練習題
練習題（寫在黃色格子裡，交報告時一起附上）
問題 1：標準添加回收率判斷：某組加標前讀數 305 ppm、加標後讀數 480 ppm、加標量 200 ppm。計算回收率 %，並判斷是否落在 90–110%。若不合格，可能的原因有哪些？
提示：到「4_回收率與飄移」的「練習計算區」，把三個黃色格子改成題目的數字。
問題 2：NaCl 當量換算：某即食湯依包裝沖泡好後，以去離子水稀釋 1:20，Na⁺ ISE 讀數為 420 ppm。求沖泡好的湯中的 Na 濃度 (g/100 mL) 與 NaCl 當量 (g/100 mL)。
提示：到「3_鈉與NaCl」2-2 講義範例，把 C10 改成 420、C11 改成 20。
問題 3：灰分能回答什麼：用黑糖 vs 白糖的灰分數據，說明「灰分 % 的差異」能不能證明黑糖含有更多對健康有益的礦物質？灰分這個指標的極限在哪裡？
提示：看「2_灰分」1-3 的平均與 RSD，以及長條圖。
問題 4：標示 vs 量測的落差：找出「量測值低於標示值」的產品，並討論可能原因（提示：不是每個差異都代表標示造假）。
提示：看「5_標示比較」H 欄。也想一想醬油的 mg/100 mL 和 mg/100 g 差在哪裡（J7 的說明）。
問題 5：非 NaCl 的鈉來源：如果一款產品標示鈉 400 mg/100 g，但配方中同時含有食鹽、味精 (MSG)、小蘇打 (NaHCO₃)，直接把「鈉 × 2.542」當作「鹽含量」合理嗎？為什麼？
問題 6：讀懂資料庫比對的旗標：(1) 「6_資料庫比對」5-4 的 G6、G7、G8 三列，「實測 ÷ 中心」各是多少？旗標認為是哪一種錯誤？(2) 寫出 G6、G7 正確的換算式，把數值改正（醬油 mg/100 mL），填進「G6/G7 改正」那一列的黃色 D 欄，看判定是否變成範圍內。(3) G8 的判定是「範圍內」，為什麼還是被標記？這告訴你「範圍內」的極限是什麼？
提示：正確換算在「3_鈉與NaCl」公式說明：讀數 × D ÷ 10。G8 改正值 = 濕基灰分 %（「2_灰分」糙米平均）。
問題 7：偏高／偏低一定是量錯嗎？(1) 黑糖灰分與運動飲料的鈉沒有落在資料庫範圍內：看「涵蓋筆數」和「7_參考資料」的 match 欄，這比較像「量測／計算錯誤」、「方法偏差」還是「樣品本來就跟資料庫品項不同」？(2) 運動飲料再跟「5_標示比較」的營養標示比一次，資料庫、標示、實驗值三者的關係是什麼？報告裡你會拿哪一個當參考值？(3) 要確認你的判斷，下一步會做什麼實驗或查證？
提示：在「7_參考資料」用「資料 → 篩選」只看 food_key = sports_drink 或 brown_sugar，再看 V 欄。